TENDER DOCUMENTS

NORTH EASTERN DEVELOPMENT FINANCE EMPLOYER LTD. (NEDFi)

INTERIOR FURNISHING WORKS

FOR

NEDFi’s GUWAHATI BRANCH AT BSNL OFFICE, CTO BLDG. PANBAZAR, GUWAHATI-781001

VOLUME-1

NOTICE INVITING TENDER, INSTRUCTION TO BIDDERS, FORM OF CONTRACT, GENERAL CONDITION OF CONTRACT, INFORMATION ABOUT THE BIDDERS, SPECIAL CONDITIONS OF THE CONTRCAT, TECHNICAL SPECIFICATION, DATA SHEETS, APPENDIES, LIST OF DRAWINGS ETC.

NEDFi, G.S. Road,

Dispur, Guwahati-781006

Issued to:

Date:

CONTENTS

| Sl. No. | Description | Pages |
| --- | --- | --- |
| 1 2 3 4 5 6 7 8 9 10 | ISSUE OF TENDER DOCUMENTS NOTICE INVITING TENDER INSTRUCTIONS TO BIDDERS FORM OF CONTRACT GENERAL CONDITIONS OF CONTRACT SPECIAL CONDITIONS OF CONTRACT LIST OF APPROVED NOMINATED MANUFACTURERS / BRANDS TECHNICAL SPECIFICATIONS FORMAT OF BANK GURANTEE VOLUME-2-FORM OF TENDER & BILL OF QANTITIES | 3-3 4-5 6-7 8-10 11-38 39-44 45-46 47-61 62-63 64-66 |

ISSUE OF TENDER DOCUMENTS

NAME OF WORK: Interior furnishing work at NEDFi’s Guwahati branch office at BSNL Premise, CTO building, Panbazar, Guwahati-781001

This Tender document is issued to:

Name of the Bidder:

Address:

This document contents all the pages and drawings as detailed in the Contents.

The fee for the tender is Rs.1,000/- .

Date of issue:

Issued by:

Issue receipt no.:

Signature of the Bidder:

Signature of the issuing authority:

Signature of Officer opening the tender:

# NOTICE INVITING TENDER

Ref: INT01/NEDFi/Guwahati br./2022-23/01

Date:

To

M/s ………………………………

……………………………………

…………………………………

## SUB: INTERIOR FURNISHING WORK AT NEDFi’s GUWAHATI BRANCH AT BSNL OFFICE, CTO BLDG., PANBAZAR, GUWAHATI-781001

Dear Sir,

1. Sealed tenders are invited on behalf of NEDFi for Interior Furnishing work at NEDFi’s Guwahati branch at BSNL Office, CTO building, Panbazar, Guwahati-781001.

2. Tenders addressed to Shri Lemli Loyi, General Manager, North Eastern Development Finance Employer Ltd., NEDFi House, G.S. Road, Dispur, Guwahati-781 006 shall be submitted at the same office within 15.00 hrs of 12/04/2021 and shall be opened on the same day at 15.30 hrs. in the presence of such bidders or their accredited representatives who may be present. Tender documents comprising of complete conditions of tender, technical specifications, tender drawings and schedule of quantities can be obtained from NEDFi House, G.S. Road, Dispur, Guwahati-6  during working hours on payment of Rs.1,000.00 in cash or by Demand Draft in favour of NEDFi payable at Guwahati or may download from www.nedfi.com.

3. Tenders are to be submitted in two parts viz. Part A and Part B in two separate double sealed covers superscribed Part A and Part B containing the documents as under

Part A: (to be opened on the same time and date as mentioned above) Required information about bidders as per Annexure- A, earnest money deposit, general and special conditions of the Contract, Technical specifications, Tender drawings and any other information/ documents required to be submitted by the Bidder.

Part B: (to be opened after opening of Part A for those Contractors who comply with the minimum eligibility criteria as per Annexure-A. Time and date of opening shall be on 13/04/2022 at 3 PM. Preamble to the schedule of Priced schedule of rates, form of tender and priced scheduled of quantities will be at Part-B. No other information and date is to be included in Part B of bid.

4. Tender documents shall be issued on all working days from 06/04/2022 to 11/04/2022, both days inclusive, during 11.00 AM to 4.30 PM. Tenders can also be downloaded from www.nedfi.com.

- 5. The Bidder shall as a condition for the consideration of his/their tender, deposit a sum of Rs.25,000/- (Rupees twenty five thousand only) as a Earnest Money as per Clause 4 of instructions to Bidders of the Tender Document by Demand Draft on Nationalized/ Scheduled Commercial Bank payable at Guwahati, drawn in favour of NEDFi, Tenders without such initial earnest money and tender fee shall be rejected without giving any reason thereof. Bidder can also pay Tender fee and EMD in the following account: NEDFi, Ac. no. 10055610554, IFSC Code:SBIN0007700, GMC branch, Guwahati

6. The Notification of award of Contract shall be made in writing to the selected bidder by the Owner.

7. Time of Completion: 30 (Thirty) days reckoned from the date of issue of Letter of Intent/Work Order.

8. Conditional Tenders containing conditions or stipulations contrary to the provisions of this tender document shall not be accepted and are liable to be rejected. The Owner does not bind himself to accept the lowest or any tender and reserves the right of the reject any or all tenders received without assigning any reason for such rejections.

9. This notice inviting tenders shall form part of the Agreement between the Owner and the Bidder who’s Tender is accepted.

10. In consideration of the price paid by the owner for the use of the tender documents, your tender shall be kept valid for acceptance for a period of 120 days reckoned from the date of opening of Part B of the Tender.

Yours sincerely,

For NEDFi

INTERIOR FURNISHING WORK OF NEDFI BRANCH OFFICE AT NAMCHI, SOUTH SIKKIM

#### Instructions to Bidders

- Before tendering, the Tenderer shall visit the interior site and also carefully examine the Tender Documents, General Conditions of Contract, Special Conditions of Contract, General Specification, Detailed Specification, Drawings and other Specifications referred to therein, the Schedule and the Bill of Quantities, and if there should be or appear to be any ambiguity in or discrepancy between any of these documents or between figured and measured dimensions upon the Drawings, he should immediately refer the matter to AGM (Premises) for clarification.

- Time is the essence of the contract and work must be completed within the time schedule as indicated in the Appendix to the form of Tender.

- The tenderer shall ascertain the location, size and condition of the areas available for his use as working areas and all other information affecting this Tender.

4A. (i) The Tenderer shall complete the annexed Form of Tender, Schedule and Bills of quantities with the whole of the prices and information      called for therein, and shall sign and date each of the documents in the space provided for the purpose. The Tenderer shall initial each page of the Bill of Quantities.

(ii) The Tender shall be signed by the person or persons so authorized by the Tenderer with signature duly witnessed. In the case of a corporation, the Tender shall be signed by the officers so authorized by the corporation with its seal duly affixed. In case of a consortium, the Tender shall be signed by the officers so authorized by each corporate member of the consortium and the Tender shall be fixed with the corporation seals of each member of the consortium.

(iii) The Tender shall furnish Address, Tel. No., Cell Phone No., E-mail I.D. & Fax No. for serving notices required to be served to the Tenderer in connection with the Tender.

4B. The rates shall be filled both in figures and in words. In case there is any           discrepancy in the rate indicated in figures or words, the rate indicated in  words shall be taken into consideration.

- The Tender Form and the documents attached to it shall not be detached one from the other, and no alteration or mutilation (other than filling in all the blank spaces) shall be made in any of the documents attached hereto. Any alterations or erasures to the entries in the attached documents shall be made by a separate covering letter, otherwise it shall not be entertained.

- Each Tenderer will be issued with one copy of Conditions of Contract, Form of Tender, Form of Agreement, Special Conditions of Contract, General and Detailed Specification, drawings and one copy of the Bill of Quantities.

- Interested Tenderers who have purchased the Tender Documents but not submitted the Tender, should return back all documents along with Drawings and a forwarding letter.

- No Tender will be considered which is not accompanied by a sum of Rs.25,000/- (Rupees twenty five thousand only) as Earnest Money which is to be lodged on the understanding that, in the event of the Tenderer withdrawing his Tender before the expiration of one twenty days from the date fixed for receiving Tenders or such other dates as the Tenderer may be required to extend the date, the Tender would be cancelled and the Earnest Money will be forfeited to the Employer, and on the understanding also that if the Tender is accepted, the Bond of Guarantee referred  after the date fixed for receiving tenders or at such earlier time as a tender may have been accepted by the Employer. In the case of the successful Tenderer, the Earnest Money will be adjusted with security money. The Earnest Money will not bear any interest. The EMD can also be furnished by means of a Bank Guarantee/Deposit at Call from a Nationalised/scheduled commercial bank for the amount of Rs.25,000/-.

- The bidder whose tender is accepted by the Owner shall be required to deposit the Initial Security Deposit amounting to 3% of the total value of the accepted tender less the amount of Earnest money deposit already made along with his/their tender within 10 days of issue of the Letter of Intent/Work order.

- The Security and Earnest money deposit shall not bear any interest. The earnest money of the unsuccessful bidders will be refunded after decision of awarding the Contract. The Earnest money of the successful bidder will be retained towards Security deposit.

- The Tenderers should note that the tender is strictly on item wise rates.

- Transfer of Tender documents issued to an intending Bidder to another is not permissible.

- Addenda to the Tender documents may be issued prior to the date of opening of the Tenders to clarify documents or to give effect to modification in the design or contract items. Envelops containing modifications, revisions, alternations etc. in the offer based on the same must also be superscribed in the same way as the original tender, if send separately. All addenda issued by the NEDFi shall become part of those tender documents.

- The Employer will not be responsible or pay for expenses which may be incurred, Or loses to person or property suffered by any Tenderer in connection with visits to and examination of the site and in the preparation of his tender for submission.

- The Tenderer (whether or not he submits a tender) shall treat the details of the Documents as secret and confidential.

- The Employer reserves the right to adjust arithmetical or other errors in any Tender in the way which he considers suitable. Any adjustments so made by the Employer shall be stated to the Tenderer if the Employer shall make an offer to accept the Tender.

- The Employer does not bind himself to accept the lowest or any Tender and has the right to refuse any Tender without assigning any reason thereof. The Employer also has the right to re-issue the Tender without Tenderers having right to object against such re-issue.

- The bidder shall visit the site and acquaint himself fully of the site conditions, availability of materials, labour, transport facilities, space for labour helmets, storage yards, bar bending yards, fabrication yard, weather conditions etc. before bidding.

- Drawing issued to the tender documents are general guidance and for enabling a bidder to understand the nature of the work being put to the tender only. Based on such drawings the contractor shall prepare detail construction drawings for approved of the Architects, before commencement of work.

- The successful bidders shall be require to execute an agreement, at his own cost on a non judicial stamp paper of Rs. 20.00 (Rupees Twenty only) within 10 days from the date of issue of Letter of Acceptance of Tender. In the event of failure of the selected Bidders to execute the same agreement within the stipulated period , the owner reserves right to forfeit the earnest money deposit and cancelled the acceptance  of such tender. The contractor’s responsibility in respect of this work shall commence from the date of issue of the letter of Acceptance of the tender. The form of agreement at the pages GCC-9 to GCC-11  hereof.

- All dispute rising out of the Agreement so made shall be subjected to the jurisdiction of the Guwahati High Court at Guwahati to the exclusion of all other courts.

FORM OF CONTRACT

THIS CONTRACT made at Guwahati this-------------day of------------ 	2022 between North Eastern Development Finance Corporation Ltd. (NEDFi), a company incorporated under the Companies Act, 1956 and having its Registered Office at NEDFi House, G.S. Road, Dispur, Guwahati-781006 (hereinafter referred to as “Owner”) which expression shall include its successors and assigns , of the ONE PART

AND

M/s     ------------------ having their registered office/main office at-------------- herein called “the Contractor” which expression shall unless repugnant to the context means and include of THE OTHER PART.

WHEREAS THE OWNER is desirous of interior furnishing work at Guwahati branch premise at BSNL Office, CTO building, Panbazar, Guwahati-781001 more specially described in this Contract Documents (herein called “the Work”) which expression shall include all amendments herein and/or modifications thereof) and has accepted the tender of the Contract for the said work.

AND WHEREAS the Contractor has agreed to undertake, execute and complete the said work in accordance with the terms and conditions contained in the said Contract Document.

NOW, THEREFORE THIS CONTRACT WITNESSTH AS FOLLOWS:

ARTICLE-1

  - The following documents shall constitute the Contract Documents, namely

  - This Contract,

  - Tender Documents as defined in the General Instructions to bidders/Contractors

  - Letter of Acceptance of Tender

  - Further Amendment (s)

1.2 A copy of the Tender Document is annexed hereto and the said copy has been marked as Annex-I, while a copy of the letter of Acceptance of Tender is marked as Annex-II and a copy/copies of further Amendment/s arrived at is/are annexed hereto and collectively marked as Annex-III.

ARTICLE-2

WORK TO BE PERFORMED:

2.1 The Contractor shall perform the said work upon the terms and conditions and within the time specified in the Contract Documents.

ARTICLE-3

CONTRACTOR’S REMUNERATION:

3.1 Subject to and upon the terms and conditions contained in the Contract Documents, the Owner shall pay to the Contractor remuneration as specified in the Contract Documents upon the satisfactory performance of the said work and or otherwise as may specified in the Contract Documents. All payments under the Contract shall be made by account payee cross cheques/RTGS.

ARTICLE-4

JURISDICTION:

4.1 Notwithstanding any other Court or Courts having jurisdiction to decide the question (s) forming the subject matter of a reference if the same had been the subject matter if a Suit, any and all actions and proceedings arising out of or relative to the Contract(including any Arbitration in terms thereof) shall lie only in the Court of competent Civil jurisdiction in this behalf at Guwahati, and only the said Court(s) shall have jurisdiction to entertain and to try any such action (s) and/or all proceeding(s) to the exclusion of all other Courts.

ARTICLE-5

ENTIRE CONTRACT:

5.1 The Contract Documents mentioned in Article-I hereof embody the entire contract between the parties thereto, and the parties declare that in entering in to this contract they do not relay upon any previous representation, whether expressed or implied an whether written or oral or any inducement, understanding or agreement of any kind not included within the Contract Documents, and all prior negotiations, representations, contracts and or agreements and understanding are hereby cancelled.

ARTICLE-6

NOTICES:

6.1 Subject to any provision in contract documents to the contrary ant notice, or communication sought to be served by the Contractor on the Owner with reference to the Contract shall be deemed to have been sufficiently served on the Owner (notwithstanding any enabling provision under any law to the contrary) only if delivered by the hand or registered acknowledgment due post to the Engineer-in-Charge as defined in the Contract Documents.

6.2 Without prejudice to any other made of service provided for the contract documents or otherwise available to the Owner, any notice, order to other communication sought to be served by the owner on the Contractor with reference to the Contract, shall be deemed to have been sufficiently served if delivered by hand or through registered acknowledgement due post to the Principal/main office of the Contractor at--------.

ARTICLE-7

WAIVER

7.1 No failure or delay by the Owner in enforcing any right or remedy of the Owner in terms of the Contract or any obligations or liability of the Contractor in terms thereof shall be deemed to be a waiver of such rights, remedy or obligations or liability, as the case may be, by the Owner and notwithstanding such failure or delay, the Owner shall be entitled at any time to enforce such right, remedy, obligation or liability, as the case may be.

ARTICLE-8

NOT ASSIGNABILITY

8.1 The Contract and benefits and obligations thereof shall be strictly personal to the Contactor and shall not on any account be assignable or transferable by the Contractor.

In witness whereof the parties hereto have duly executed this Contract in Duplicate at Guwahati on this------------day of-------------2022.

SIGNED AND DELIVERED

For and on behalf of

(Owner)

by:

In the presence of:

1.

2.

SIGNED AND DELIVERED:

For and on behalf of the Contractor:

By:

In the presence of:

1.

2.

General Conditions of contract

# Index

Conditions of Contract

Clause	Description

No.

1. Definitions

2. Interpretations

3. Scope of Contract

4. Security deposit

5. Contract documents, schedule of quantities, drawings etc.

6. Contractor to obtain his own information

7. Time of performance

8. Extension of time

9. Compensation/Liquidated damages for delay in completion

10. Failure of Contractor to comply with Architect’s instructions

11. Termination of contract by Owner

12. Right of Owner to determine and terminate the contract

13. No compensation for alternation in or restriction of work

14. Subletting of work

15. Nominated Sub-Contractors

16. Owner may terminate sub contracts

17. Contractor’s sub-ordinate staff and their conduct

18. Contractor’s office at site

19. Access for Architects and Owner to works

20. Engineer-in-charge (EIC)/Site Engineer

21. Authorities Notices and Patents

22. Materials to be supplied by the Contractor

23. Execution of works

24. Discrepancies between instructions

25. Setting out works

26. Alteration in specifications & designs

27. Quality of materials & workmanship & test

28. Work on Sundays and Holidays

29. Working hours

30. Action in case of bad works

31. Suspension of works

32. Period of liability

33. Measurements, Certificates and payments

34. Measurement of works

35. Bills to be submitted by the Contractor

36. Certification and payment of the Contractor’s bills

37. Method of payment

38. Interim payments to be regarded as advance

39. Period of honouring certificates

40. Certificate of virtual completion

41. Final certificate

42. Price for extras etc.: Ascertainment of

43. Unfixed materials when taken into account to be the property of the owner

44. Taxes, forest royalty, labour laws, safety regulations etc.

45. Labour laws:

46. Damage to property

47. Contractor to indemnify the owner

48. Insurance of Work, Insurance against injury to persons & property

49. Settlement of dispute-Arbitration

50. Engagement of apprentices by the Contractor

51. Excepted matters

52. Safety code

53. Form of Bank guarantee in lieu of EMD, Initial security deposit and final 54. Security deposit

55. Bill format

56. Account of secured advance format

57. Format for Bond for Secured Advance

58. Information about the Bidder

59. Watching & Lighting

60. CVC Clause

CONDITIONS OF CONTRACT

- Definitions:

In the Contract (as hereinafter defined) Definition of the following words and expressions shall have the meanings, unless the context otherwise requires herein respectively assigned to them:

  ‘Approved’ means approved in writing; ‘Approval’ means approval in             writing

	 ‘Bill of Quantities’, ‘Schedule of Quantities’ means items specification, the Quantities of items, materials, rates, conditions etc.

      ‘Completion of the Work’ means the completion of the whole of the work in all respect as evidenced by issuance of a Certificate of Completion by the Architects in pursuance of Clause 40 of the General Conditions of Contract.

 	‘Owner’ means North Eastern Development Finance Corporation Ltd. and ‘Contractor’ 	means ----------------------------------------------------------------- and includes the Contractor’s personal representative’s successors and permitted assigns.

	‘Conditions’ means the Conditions of Contract’

	‘Contract’ means this agreement and all documents which form part thereof and / or annexed thereto and all amendments thereto made in accordance with the provision hereof.

 	‘Contract Price’ means the sum setout herein and shall be subject to 	additions and / or deductions and relates in accordance with the provisions herein contained, materials, apparatus, equipment, plant, fittings and things.

	‘Construction’ means all appliances or things of what-so-ever nature 	required in or about the execution, completion of maintenance of the work of Temporary Work (as herein after defined)but also include Materials or other things intended to form or forming part of the Work.

	‘Drawings’ means the drawings referred to in the specification and any

modification of such drawings approved in writing by NEDFi.

	‘Employer’ or ‘Owner’ means NEDFi and includes the Employer’s Representatives, successors and assigns.

		‘Materials’ means the materials, apparatus, equipment, fittings and other things for incorporation in the work.

	‘Month’ means calendar month.

		‘Permanent Work’ shall mean the work which are of a permanent nature and are not Temporary Work.

 	‘Special Conditions’ means the Special Conditions of Contract.

		‘Specification’ means specifications including Indian or British or other approved standard specification where so required.

	‘Site’ means places on under in or through which the work are to be executed or carried out any place provided by the Employer for the purposes of the work together with such other places as may be specifically designated in the Contract as forming part of the Site.

 ‘Work’ means the work described in the ‘Scope of Work’ and / or to be executed in accordance with the Contract and includes materials apparatus, equipments, fittings and things of all kinds to be provided.

 ‘Temporary Work’ means all temporary work of every kind required in or about the execution, completion or maintenance of the work.

 Words inputting the singular only also include the plural and vice versa where the context required.

 The marginal headings or notes shall not be deemed to be a part of the 	clauses and shall not be taken into consideration in the interpretation on construction thereof on contract.

		All other work shall have the meaning assigned to them elsewhere in the Contract.

2. INTERPRETATION OF CONTRACT DOCUMENTS & SCOPE OF CONTRACT:

2.1 Execution, Co-relation & Intent of contract documents:

The owner and the contractor shall sign the contract documents in quadruplicate. In case Contractor fails to sign the General Conditions, Drawings or Specifications, the Architects shall identify them.

The contract documents are complementary, and what is call for by any one shall be as binding as if called for by all. The intention of the documents is to include all labor and materials, equipments and transportation necessary for the proper execution of the work. Materials or work described in the works which so applied have a well-known technical or trade meaning shall be held to refer to such recognize standard.

The several documents forming the contract are to be taken as mutually explanatory of one and should there be any discrepancy, inconsistency, error or omission in contract documents or any of them, the matter shall be referred to the architects for their decision, which shall be final and conclusive and the contractor shall carry out the work in accordance with such decisions.

3. SCOPE OF CONTRACT:

3.1 The contractor shall carry out and complete the said work in every respect in accordance with this contract and with the direction and to the satisfaction of the owner. The owner from time to time issue further drawings and or written instructions, details, directions and explanations which are hereafter collectively referred to as “ Instructions” in regard to:

- The variation or modification of the design, quality or quantity of works or the addition or omission or substitution of any work.

- Any discrepancy in the drawings or between the schedule of quantities / rates and / or drawings and /or specifications.

- The removal from the site of any materials brought thereon by the contractor and substitution of any other materials for the purpose

- The removal and or execution of any works executed by the contractor

- The dismissal from the works of any persons employed thereupon.

- The opening upon inspection of any work covered up.

- The amending and making good of any defects under clause 29 of the General conditions of contract.

3.2 Works shown upon the drawings, but not mentioned in the specifications or works described in specifications but not shown in drawings, shall nevertheless be held to be included in the same manner as if they had been specifically shown upon the drawings and described in the specifications.

4.1 SECURITY DEPOSIT:

The contractor whose tender is accepted will be required to furnish such sum as will amount 5% of the total value of works as security deposit made up as under:

i. Earnest money deposit made during submission of Tender.

ii. Amount of initial security deposit made on acceptance of the tender.

ii. The balance to be deducted from bills as stated above less earnest money deposit and initial security deposit at (i) above till the balance is realized, or by a guarantee issued by a nationalized / scheduled bank in the prescribed format.

No interest is payable on security deposit.

iii. 50% of the amount retained as security deposit will be released on virtual completion of the work, and the balance after the expiry of the defects liability period i.e. 21 months from the date of completion of the work.

5. CONTRACT DOCUMENTS, SCHEDULE OF QUANTITIES, DRAWING ETC:

The original contract documents shall remain in the custody of the Owner and shall be produced by them as and when required by the Architects or the contractor. The contractor assigning hereof shall famished by the Owner free of charge, with a set of the contract documents including priced Schedule of Quantities and Specifications. Two copies of all construction drawings shall be issued to the contractor during the process of the work. Any further copies of such drawings required by the Contractor shall be paid for by him. The contractor shall keep one copy of all such drawings at the work site in good order and the Owner / Architects or their representatives shall, at all reasonable times, have access to the same. These are not to be used on any other work, and with the exception of the Signed Contract Document, are to be returned to the Architects before issue of the Final Certificate of Completion.

6. COPNTRACTOR TO OBTAIN HIS OWN INFORMATION:

  - the contractor in fixing his Schedule of Quantities shall for all purposes whatsoever be deemed to have himself independently obtained all necessary information for the purpose of preparing his tender.

  - The contractor shall be deemed to have visited and carefully examined the site and its surrounding to have satisfied himself as to the nature of all existing structures, if any, and so as to the nature and condition of existing railways, roads, bridges and culverts, means of transport and communication by land, water ways or air and as to the possible interruption there and the access to and from the site, to have made inquiries, examined and satisfied himself as to the sites for obtaining necessary materials, the site for disposal of surplus materials, the available accommodation as to and whenever required, depots and such as their buildings as may be necessary for executing and completing the work, o have made independent inquiries as to the climatic conditions, and all other similar maters affecting the execution  of the works. He is deemed to have acquainted himself as to his liability for payment of taxes, royalties, fees, custom duties, and other charges, and to have satisfied himself as to the sufficiency of his tender.

7. TIME OF PERFORMANCE:

Time is the essence of the contract and unless such time allowed in this contract be revised pursuant to the provisions of clause 7. No revision there of shall be allowed. The time of performance will be reckoned from the date of issue of Letter of Acceptance for tender.

8. EXTENSION OF TIME:

  - If the contractor shall desire an extension of the time for completion, on grounds of his / their having been unavoidably delayed viz. (a) by force majeure, (b) by reason of any exceptionally inclement weather, (c) by reason of delay by other contractors engaged by the owner, (d) by reason of Architect’s / Owner’s instructions, (e) by reason of civil commotion or strike by workman affecting the building trade, (f) or any reason of the contractor not having received instruction from the Owner / Architects in time, for which he had applied in writing sufficiently early, (g) or by delay for reasons beyond the control of the contractor, he shall apply in  writing to NEDFi within ten days of the date of hindrance on account of which such extension of time is desired for completion, but the contractor shall nevertheless constantly endeavor to prevent such delays and shall do all that may be reasonably required to the satisfaction of the Owner to proceed with the work. If however, the contractor fails to apply for extension within the stipulated period and in the proper manner as explained above, it shall be deemed that the delay caused is solely attributed to the contractor.

9. COMPENSATION/LIQUIDATED DAMAGES FOR DELAY IN COMPENSATION:

If the contractor fails to complete the work by the stipulated date or within the extended time under clause 7 and the Architects certify in writing that in his opinion the same ought to have been completed, the owner may deduct / recover a sum calculated @ 0.5% of the contract sum per week as liquidated damages for the period during which the said works remain incomplete, subject to a maximum of 7.5% of the accepted tender.

10. FAILURE OF CONTRACTOR TO COMPLY WITH ARCHITECT’S INSTRUCTIONS:

If the contractor after receipt of a notice in writing from NEDFi requiring compliance within 10 days fails to comply with such instructions and or drawings, the Owner may employ and pay other agencies to execute any such work whatsoever that may be necessary to give effect thereto and all cost incurred in connection therewith shall be recoverable from the contractor by the owner as debt or may be deducted by him any payment due or to become due to the Contractor.

11. TERMINATION OF CONTRACT BY OWNER:

  - (a) if the Contractor, being an individual or a farm, commit an act of insolvency or shall be adjudged an “insolvent” or being an incorporated Company shall have an order of compulsory winding up made against it or pass an effective resolution for winding up voluntarily or subject to the supervision of the court, and of the official assignee of the Liquidator in such acts of insolvency or winding up shall be after within seven days after notice to him / them requiring him /  them to do so, to show to the reasonable satisfaction of the owner that he/they/is/are not able to carry out and fulfill the contract, and to give security thereof, if so required by the owner.

(b) Or if the contractor shall suffer execution to be issued.

(c) Or if the contractor shall suffer any payment under this contract to be attached by or on behalf of any of the creditors of the Contractor.

(d) Or if the contractor shall assign or sublet this contract without the prior consent in writing of the owner,

(e) Or if the owner is satisfied that the contractor.

- Has abandon the works,

- Or has failed to commence the works within the specified time,

- Or has without any reasonable and lawful excuse under these conditions, suspended the progress of the works for 14 days after receiving from tNEDFi written notice to proceed on.

- Or has failed to proceed with the work with such diligence and failed to make such due progress as would enable to be completed within the time agreed upon.

- Or has failed to remove materials from the site or to dismantle and reconstruct works for seven days after receipt of notice in writing from NEDFi that the materials or work were condemned and reject by EIC under these conditions.

- Or has neglected or persistently failed to perform and observe, all or any of the acts, matter or things, by this contract to be performed and observed by the contractor for seven days after written notice shall have been given to the contractor requiring him to perform or observe the same.

- Or has to the determent of good workmanship or in defiance of the instructions of the EIC to the contrary sub-let any part of the contract.

- Or has failed to supply sufficient and suitable constitutional plant and equipment, temporary works, labor and materials.

Then it any of the above cases the Owner may, notwithstanding any previous waiver, after giving seven days notice in writing to the contractor, determine the contract but without thereby be affecting the powers of the Architects or the obligations and liabilities of the contractor, or the rights of the owner, the whole of which shall continue to be enforce as fully as if the contract has not been determined, and have the works subsequently executed by the Owner’s agents, servants or any other agency at the risk, expense and cost of the contractor. And further the Owner may, by his agents or servants enter upon and take possessions of the work and all plant, tool, scaffolding, temporary works, sheds, machinery and all materials upon the premises or adjoining lands or roads and use the same as his own property and may employ the same by means of servants and workmen in carrying on the completing of the work, and the contractor shall not in any interrupt or do any act.

  - When the works shall be completed or as soon as thereafter as convenient NEDFi shall give notice in writing to the contractor to remove his surplus materials and plant and should the contractor to fail to do so within a period of 14 days after receipt thereof by him, the owner shall sell the same by public auction and shall give credit to the contractor for the amount realized.

12. RIGHT OF OWNER TO DETERMINE AND TERMINATE THE CONTRACT:

  - The owner shall at any time, be entitled to determine and terminate the contract, if in the opinion of the owner, the cessation of the work becomes necessary owing to any cause whatsoever, in which case the contractor shall be eligible for payments for all works executed including approved materials at site at current market rate. A notice in writing by the owner to the contractor of such determination and termination shall be conclusive and final.

13.  NO COMPENSATION FOR ALTERATION IN OR RESTRICTION OF WORK:

If at any time after the commencement of the work the Owner shall for any reason whatsoever not require the whole or part thereof as specified in the tender to be carried out, NEDFi shall give notice in writing of the fact to the contractor, who shall have no claim to any payment or compensation whatsoever of any profit or advantage which he might have derived from the execution of the work in full, but which he did not derive in consequence of such alteration in or restriction of work and in consequence of the full amount of work not having been carried out, neither shall he have any claims for compensation by reason of any alteration or restriction have been made in the original specification, drawings designs or instruction which may have involved any curtailment of any work as originally contemplated.

14. SUBLETTING OF WORK:

The whole of the works included in the contract shall be executed by the contractor and the contractor shall not directly or indirectly transfer, assign or sublet the contract or any part thereof or any interest therein without the written consent of the Owner and no undertaking shall relieve the contractor of the full and entire responsibility of the contract or from active superintendence of the works during their progress.

15. NOMINATED SUB-CONTRACTOR:

All specialist, merchants, tradesmen and others executing any work or supplying and fixing any goods for which prime cost prices or provisional sums are included in the Schedule of Rates and / or Specifications, who may be selected or nominated are hereby declared to the Sub-contractors employed by the Contractor and are herein referred to as nominated Sub-contractor.

No nominated sub-contractor shall be employed on in connection with the work against whom the contractor shall make reasonable objection or (save where the Architects and the contractor shall otherwise agree) who will not enter into a contract providing:

  - That the nominated Sub- Contractor shall indemnity the contractor against the same obligations in respect of the sub-contract as the contractor is under in respect of this contact.

  - That the nominated Sub-Contractor shall indemnify the contractor against claims in respect of any negligence by the sub-contractor, his servants or agents or any misuse by him or them of any scaffolding or other plant, the property of the contractor or under any workmen’s compensation Act in force.

  - That payments shall be made to the nominated sub- contractor within 14 days of his receipt of the Architect’s provided that before any certificate is issued, the contractor shall upon request furnish to NEDFi proof that all nominated   sub-contractors accounts included in the previous certificates have been duly discharged, in default whereof the owner may pay the same to such nominated sub-contractor and deduct the amount thereof from any sums due to the contractor. The exercise of this power shall not create privities of contract as between the owner and such sub-contractor.

16. OWNER MAY TERMINATE SUB-CONTRACTS:

  - If any sub-contractor or nominated sub-contractor engaged upon the works at site 	executes any work which in the opinion of NEDFi is not in accordance with the 	contract documents, the owner may issue a notice in writing to the contractor 	requiring him to terminate such sub-contract and dismiss them and the latter shall 	forthwith leave the works.

  - NO REMEDY FOR ACTION TSKEN UNDER THIS CLAUSE:

No action taken by the owner under this clauses shall relieve the contractor of this 	responsibilities under the contract, or give rise to any right to compensation, 	extension of time or and claim whatsoever.

17. CONTRACTORS SUB-ORDINATE STAFF AND THEIR CONDUCT:

17.1   The contractor shall provide to the satisfaction of the owner sufficient and  qualified staff to superintend the execution of the works. Competent engineers, engineering assistants, foremen and leading hands, including those specially qualified by previous experience to supervise the particular types of work envisaged in the contract shall be engaged by the contractor.

  - If and whenever any of the contractor or sub-contractors, agents or sub-agents, engineer, foremen or any other employee shall be guilty of any misconduct or be incompetent or insufficiently qualified to execute the work or if in the opinion of the owner it is inadvisable for Administrative or other reason, for such a person or persons to be employed in the works.

  - The contractor shall be responsible for the conduct and behavior of all his staff, foremen, workmen and other and shall exercise a proper degree of control over them and shall be bound to prohibit and prevent them from trespassing or acting in any way detrimental or prejudicial to the interest of the community or the owner and the properties in the neighborhood and in the event of any such act by an employees.

- CONTRACTOR’S OFFICE AT SITE:

  - The contractor shall provide and maintain an office and a telephone connection/ fax at the site at his own cost for the accommodation of his agent and staff and such offices shall be kept at all reasonable hours to receive instructions, notices and other communication from the EIC of the owner.

  - CONTRACTOR’S ACCREDITED AGENT:

The contractor shall during the entire duration of the work employee a compete tent representatives approved by the Owner who shall constantly be in attendance at the site while men are at work.

- ACCESS FOR ARCHITECTS AND OWNER TO WORKS:

The owner and their representatives shall be at all reasonable times have free access to the work and/ or workshops, factories and other places where materials are laying or form where they are being obtained and the contractor shall give every facility to the owner and their representatives for inspection, examination or testing of materials and workmanship.

20. ENGINEER IN CHARGE (EIC) / SITE ENGINEER:

The contractor shall afford the Engineer In-Charge every facility and assistance for inspecting the work and the materials and for checking and measuring time and materials including an office accommodation inside the site of work with necessary office furniture. The Engineer in- charge shall have power to give notice to the contractor or his representative of non-approval of any work or materials and such works shall be suspended.

- AUTHORITIES NOTICES & PATENTS:

The Contractor shall conform to the provisions of any Acts of the Legislature relating to the work, and to the Regulations and Bye-Laws of any Authority, and/or any water, lighting and other Companies, and/or Authorities with those system the structure is proposed to be connected, and shall, before making any variations from the drawings or Specifications that may be necessitated by so conforming give to the Owner’s written notice specifying the variations proposed to be made and the reasons for making them and apply for instructions thereon. In case the Contractor shall not within seven days receive such instructions he shall proceed with the work conforming with the Provisions, Regulations or Bye Law in question.

21.1	In particular, the Contractor shall be responsible to register themselves under the Contract Labour (Regulation and Abolition) Act 1970 and Rules there under and they must comply with and carry out all the provisions and obligations under the said Act and Rules and furnish all information to Employer as may be required by it and shall also indemnify the Employer against any penalties / claims arising from any default, on their part.

21.2	The contractor shall arrange to give all notices required by the said Acts, Regulations or Bye-Laws to be given to any Authority, and to pay to such Authority or to any Public Office all fees that may be properly chargeable in respect of the work.

21.3	The Contractor shall indemnify the Employer against all claims in respect of patent rights and shall defend all actions arising from such claims unless he has informed the Owner before any such infringement and received Owner’s permission to proceed and shall himself pay all royalties, license fee, damages costs and charges of all and every sort that may be legally incurred in respect thereof.

21.4	The Contractor should observe that his work shall not cause any nuisance to the Public in general and to the neighboring occupants in particular.

21.5	Should the Contractor desire to work on Sundays, Holidays and during night, permission in writing from the Owner must be obtained in time. It shall be the responsibility of the Contractor to obtain permission from Civil Authorities if necessary.

21.6	The Contractor shall indemnify the Employer from and against all claims and proceedings for or on account of infringement of any patent rights design trade mark or name or other protected rights in respect of any Constructional Plant machine work or material used for or in connection with the Work or Temporary Work or any of them and from against all claims demand proceedings damages costs charges and expenses whatsoever in respect thereof or in relation thereto. Except where otherwise specifies the Contractor shall pay all tonnage and other royalties and other payments or compensation (if any) for getting stone and gravel clay or other materials required for the Work or Temporary Work or any of them.

22. MATERIALS TO BE SUPPLIED BY CONTRACTOR:

  - The contractor shall procure and provided all the materials required for complete the job and shall make his own arrangement for the procurement of such materials and for the transport thereof. All materials used in the work shall bear ISI certification mark wherever such materials are available and or which are supplied by reputed suppliers.

  - Notwithstanding areas or locations that may have been suggested to the contractor as sites from where materials for constructions can be obtained, the contractor shall be deemed to have satisfied him selves as to the source of the supply of such materials and he shall be solely responsible for sample and sufficient supply of materials.

  - The contractor shall at his own cost analyze, test, prove and quality all materials required to be so done by the Architects in writing and the contractor wither mentioned in the contract or not. The contractor shall at his own cost provide all labour, materials and things, required by the Owner for testing, preparation of samples etc.

23. EXECUTION OF THE WORK:

All works shall be executed in strict conformity with the provisions of the contract Documents and with such explanatory detailed drawings, specifications and instructions as may be furnished from time to time to the contractor wither mentioned in the contract or not, and the contractor shall be responsible for entering that works are executed in the most sustainable, proper and workmanlike manner.

24. DISCREPANCIES BETWEEN INSTRUCTIONS:

24.1. Should any discrepancy arises between the various instructions furnished to the contractor, his agent or staff or any doubt arises to the meaning for any instruction, the contractor shall refer the matter in writing immediately to the Architect whose discussion shall be final and binding on the contractor. No claim for any losses alleged to have been caused by such discrepancies between instructions, doubts etc. shall be admissible.

24.2 In case of any contradiction between the specifications stated in all pages of terms & conditions on the one hand and the description of items in the schedule of Quantities on the other, the latter (the schedule of quantities) shall supercede and prevail over the former.

25. SETTING OUT WORKS:

The contractor shall set out the works and shall be responsible for the true and perfect setting out of the same and for the correctness of the positions, levels, dimensions and alignment of all parts thereof. If at any time any error in these respects shall appear during the progress of the works, the contractor shall at his own expenses rectify such error if so required to the satisfaction of the Owner.

26. ALTERATION IN SPECIFICATIONS & DESIGNS:

The Owner may in their discretion make any alteration in, omission from, additions to, or substitutions for, in the original drawings, specifications, designs or instructions that may appear to him necessary or advisable during the progress of the work, and the contractor shall be bound to carry out the work in accordance with the instructions which may given to him in writing, and such alteration, omission, additions or substitutions shall not in validate the contract or any altered or additional or sub situated works shall be carried out by the contractor on the same  conditions on which he agreed to do the original work  and at the same rates as are specified in the tender for the original work.

27. (A) i)	QUALITY OF MATERIALS & WORKMANSHIP & TEST

All materials and workmanship shall be the best of the respective kinds described in the Contract and in accordance with the Owner’s instructions and shall be subjected from time to time to such tests as the Owner may direct at the place of manufacture of fabrication or on the Site or at all or any of such places or at any approval laboratory. The Contractor shall provide such assistance instruments machines labour and materials as are normally required for examining measuring and testing any work and the quality weight or quantity of any materials before incorporation in the work for testing as may be selected and required by the Owner.

ii)	Cost of Samples

The Contractor without any extra charge shall supply all samples as required by the Owner.

iii)	Cost of Tests

The cost of making any test shall be borne by the Contractor if such test is intended by or provided for in the Tender Conditions, specification or Bill of Quantities and in the cases only of a test under load or of a test to ascertain whether the design of any finished or partially finished work is appropriate for the purposes which it was intended to fulfill is particularized in the specification or Bill of Quantities in sufficient detail to enable the Contractor to price or allow for the same in his Tender.

(B)	Cost of tests not provided for in the Tender Conditions.

If any test is ordered by the Owner which is either.

  - Not so intended by or

  - (In the cases above mentioned) is not so particularized or

  - Though so intended or provided for is ordered by the Owner to be carried out in addition to the tests arranged by the Contractor as usual practices by an independent person at any place other than the Site or the place of manufacture of fabrication of the materials tested.

Then the cost of such test shall be borne by the Contractor if the test shows the workmanship or materials not to be in accordance to the provision of the Contract or the Owner’s Instructions and otherwise by the Employer.

28. WORK ON SUNDAYS AND HOLIDAYS:

Working on Sundays and holidays are not permitted. If the contractor feels that such working is necessary to adhere to the time of completion of the work, he may apply for the same to EIC in writing and EIC may at his discretion permit such working. However Sundays & National Holidays shall not considered.

29. WORKING HOURS:

Normal working hours shall be 8 hours during day time. No night work shall be allowed except when permitted by the EIC in writing.

30. ACTION IN CASE OF BAD WORK:

  - The Owner shall during the progress of the works, have power to order in writing from time to time removal from the works within reasonable time as may be specified in the order, of any materials which in the opinion of the Owner is not in accordance with the specifications or instructions of the Owner’s, the sub situation of proper materials and the removal and proper execution of any work executed with materials or workmanship not in accordance with the drawings, specifications and instructions and the contractor shall forth with carry out such order, the owner will have the power to employ and pay other persons to carry out the same and all expenses consequent or incidental thereto as certified by the Architects shall be borne by the contractor.

  - The clause shall also apply to all works notwithstanding the fact that the work may have been passed and paid for under a certificate of the Owner.

- SUSPENSION OF WORK:

i)  Subject to provisions of sub- para (ii). of this clause the contractor shall if ordered in writing by the Owner temporally suspended the works or any part thereof for such period and such time as so ordered and shall not after receiving such orders proceed with the work therein ordered to be suspended, until he shall have received a written order to proceed therewith.

The contractor shall not be entitled to claim compensation for any loss or damage sustained by him by reason of this temporary suspension. An extension of time for completion corresponding with the delay caused by the said suspension of the works , will be granted to the contractor, provided that such suspension was not consequent to any default or failure on the part of the contractor.

ii) In case of suspension of the entire work ordered in writing for a period of more than three months, the contractor shall have the option to terminate this contract.

iii) If the contractor accept on account of any legal restraint or the owner preventing the continuance of the work or in case of a certificate of interim payment not paid within the period of honour of the certificates ,or in accordance with sub clause (i) of this clause, shall suspend the works or shall neglect or fail to proceed with due diligence in the performance of his part of the contract, or if he shall more than once make default in respect of clause 10 , for which no action was taken under that clause, the owner through the Architects shall have power to give notice in writing to the contractor requiring the works to be proceeded within a reasonable manner and with reasonable dispatch. Such notice shall purport to be a notice under this clause. After such notice shall have been given, the contractor shall not be at liberty to remove from the site of works or from any ground continuous thereto, any plant or materials belonging to him which shall have been placed thereon for the purpose of the works, and the owner shall have lien upon all such plant and materials to subsist from the date of such notice being given until the notice shall have been complied with. If the contractor shall fail for seven days after such notice has been given to proceed with the works as therein prescribed , the owner may proceed as provided in clause 10.

32. PERIOD OF LIABILITY:

The period of liability shall be twelve months reckoned from the date of issue of completion certificate on virtual completion of the work.

32.1. any defect, shrinkage, settlement or other faults which may appear within the “Defect Liability” period mentioned above after the virtual completion of the works, that in the opinion of the Owner have arisen from or have been caused by materials or workmanship that are/were not in accordance with this contract, and within such reasonable time as shall be specified therein , shall be amended and made good by the contractor by the contractor at his own cost. In default there of the owner may employ and pay other persons to amend and make good such defects, shrinkage and settlement of other faults , and all damages and expenses consequent there on or incidental their to shall be recoverable from the contractor by the owner.

Should any defective works have been done or materials supplied by any subcontractor employed on the works who has been nominated or approved by the Owner as provided in clause 14 , the contractor shall be liable to make good in the same manner as if such work had been done or  material had been supplied by the contractor.

33. MEASUREMENTS CERTIFICATE & PAYMENTS:

  - The price to be paid by the owner to the contractor for whole of the work to be done and for performance of all the obligations undertaken by the contractor under these contract documents shall be ascertained by the application of the respective scheduled of quantities listed in Appendix-1 (the inclusive nature of which is more particularly define by way of application & not by way of limitation in the succeeding clause of this clause)  , and the payment to be made according to the work actually executed, and approved by the EIC. The some so ascertain shall, (Excepting only as to the extended expressly provided here in) constitute the sole and inclusive remuneration of the contractor under the contract and no further or other payment what so ever shall be or became due or payable to the contractor.

  - Schedule of quantities to be inclusive:

The rates quoted in the scheduled of quantities shall be deemed to include & cover all cost expenses and liabilities of every description & all risks of very kind to be taken in executing, completing and handing over the work to the owner by the contractor. The contractor shall be deemed to have made such provisions in the scheduled of quantities as he may consider necessary to cover all such cost as above.

  - Scheduled of quantities to cover constructional plant, Materials, Labor etc:

Without in any way limiting the provisions of the proceeding sub-clause, the schedule of quantities shall be deemed to include & cover the cost of all constructional plant, temporary works, all materials, labor, insurance, fuel, power, water, stores and appliances to be supplied by the contractor & all other matters in connecting with each item in the schedule of quantities & the execution of the works or any portion thereof, finished completed in every aspects, maintained & as shown or described in the contract documents or as may be ordered in writing during the continence of the contract.

  - Schedule of quantities to cover Royalties, Rents and Claims:

The schedule of quantities shall be deemed to include and cover the cost of all royalties and fees for all articles, processes, protected by letters of patent or otherwise incorporated in or used in connection with works, also all royalties, rents and other payments in connection with obtaining materials of whatsoever kind for the works and shall included and indemnity to the owner which the contractor hereby given against all actions proceedings claims, damages, costs and expenses arising from the incorporation in or the use on the works of any such articles, processes or materials.

Octroi or other municipal or local charges if levied on materials, equipment or machinery to be brought to site or use on work shall be borne by the contractor.

  - Schedule of quantities to cover Taxes & Dues:

The schedule of quantities shall be deemed to include all expenses in regard to payment of custom duties, excise duties, sales tax, quarry or any port dues, transport charges, stamps, duties, central & state government or local body or municipal taxes, work contract taxes, forest royalties & monopoly charges and other duties, what so ever Goods & Service Tax (GST) shall be payable extra by the owner on the contractors furnishing to the owner the relevant registration certificates issued by the tax cell.

  - Schedule of quantities to cover risks of delay:

The schedule of quantities shall be deemed to include and cover the risk of all possibilities of delay & interference with the contractor conduct of the works due to any reason including due to orders of The owner in the exercise of there powers and on account of extension of time granted due to various reasons and for all other probable and possible cause of delay.

  - Schedule of Rates to cover variation in costs due to alteration, omission or deduction-in work:

The schedule of Rates shall cover any provable variation in costs that may occur due to any part of the work being modified, altered, extended, diminished or omitted. The Schedule of Quantities is fully inclusive rates, which have been fixed by the Contractor and agreed to by the Owner.

34. Measurement of Work:

  - Relevant entries in the measurement books/ sheets shall be made by the site engineer / EIC. The Engineer in-charge (EIC) / site engineer may from time to time intimate to the contractor that he requires the works to be measured and the contractor shall forthwith attend or send a qualified authorized agent to assist the EIC. Site engineer in taking the measurements and calculations and the to furnish all particulars.

  - Should the contractor not attend, or neglect or omit to send such agent then the measurements take by the EIC / site engineer or approved by him shall be taken to be the correct measurements of the works.

  - The contractor or his agent may at the time of measurement take such notes and measurement as he may require.

  - The contractor or his agent shall sign the measurements recorded by the EIC or his authorized representative in token of his acceptance of the measurements so recorded.

35. BILLS TO BE SUBMITTED BY THE CONTRACTOR:

The contractor shall submit bills in quadruplicate on approved forms, which shall give the abstract of the detailed measurement recorded in the measurement book/s by the site Engineer / EIC. For the various item of works executed during the period. Bills shall normally be submitted monthly.

36. CERTIFICATION AND PAYMENT OF CONTRACTOR BILLS:

36.1 The contractor shall be paid by the Owner from time to time by installments for works executed after necessary verification of the bills submitted by the Contractor. If in the period the bill does not exceed Rs.5,00,000.00 (Rupees Five Lakhs) no payment shall be made until the value exceeds the sum of Rs.5,00,000.00. Such payments shall be made after making necessary deductions as stipulated elsewhere in the documents, such as advances on materials and for security deposit as per clause 3.

36.2 Advance on non-perishable materials:

The Engineer-in-charge / Site Engineer may at his discretion include in the Interim Certificates such amount as he may consider proper on account of non-perishable materials bought to site and safely and securely stored at the site by the Contractor for use in the works, and a bond as prescribed in the ‘pro forma’ shown in the page no…… hereof as furnished by the Contractor  for advance payment. Such advance shall not exceed 75% of the value of non-perishable materials, provided that such materials are in accordance with the specification stipulated in the Contract Document. Such advance payments shall be adjusted in the subsequent interim payments for the work.

  - Mobilization Advance: The Owner at his absolute discretion may grant to the bidder whose tender is accepted a sum not exceeded 10% (Ten Percent) of the value of the accepted tender as ‘mobilization advance’ to enable the contractor to mobilize materials, labor and other inputs required for the work. Such mobilization shall be paid only on the security of a guarantee issued by a nationalized / scheduled bank in the Performa at pages GCC-42 to GCC-44 herein. Such advances shall be recovered from the Contractor pro-rata from his running account bills.

37. METHOD OF PAYMENT:

Payment due to the contractor shall be made by ‘Crossed Account Payee’ cheques/RTGS forwarding the same to the registered office or to the notified office of the Contractor.

38. INTERIM PAYMENTS TO BE REGARDED AS ADVANCE:

All payments by way of Interim Certificates shall be regarded as payments by way of advance against the final payment only and not as payment for works done and completed and shall not preclude the requiring of unsound materials and imperfect or unsound workmanship to be removed and taken away and reconstructed or re-erected or be considered as an admission of the due performance of the contractor or any part thereof in this respect, of the accruing of any claim; nor shall it conclude, determine or affect in any way the power of the Owner under these conditions or any of them as to the final settlement and adjustment of accounts or otherwise or otherwise or in any other way affect these Contract.

38.2 The Owner shall have power to withhold any Certificate if the works or any parts thereof are not being carried out to their satisfaction.

38.3 NO CERTIFICATE OF PAYMENTS SHALL BE ISSUED BY THE Owner IF THE CONTRACTOR FAILS TO INSURE THE WORKS AND KEEPS THEM INSURED TILL THE ISSUE OF THE VIRTUAL COMPLETION CERTIFICATE.

39. CERTIFICATES OF VIRTUAL COMPLETION:

After completion of all the works under this contract and in the opinion of the Owner the said works are found to be fit for occupation / use, the contractor will be issued with a certificate of completion by the Owner. The defects liability period shall commence from the date of such certificates.

No such certificates shall be given until all scaffolding, surplus materials cleared and rubbish cleared off the site.

40.  FINAL CERTIFICATE:

Upon expiry of the period of liability and subject to the owner being satisfied that the works have been duly maintained by the contractor during the period of liability and the contractor has performed all his obligations under this contract the Owner shall issue a certificates herein referred to as “Final Certificate” to the effect that the contractor has duly fulfilled his obligations under this contract.

The contractor shall not be considered to have fulfilled to whole of his obligations under this contract until Final Certificate shall have been given by the Owner notwithstanding any previous entry upon the works, and or taking possession, working or using of the same or any part thereof by the owner.

41. PRICE FOR EXTRAS ETC. ASCERTAINMENT OF:

If any work has been carried out by the Contractor under the orders of the Owner exercising for which item of work no rates have been quoted by the contractor in his tender than:

- If such item of work includes any work identical to an item of work included in the Schedule of Quantities, the same shall be priced at the rates included in the Schedule of Quantities.

- if such item of work is not exactly identical but analogous to item of work included in the schedule of rates, the variation shall be priced by deriving the same from the Schedule of Quantities.

- Where such item of work cannot be priced in any of the above manner, the rates shall be derived on the basis of the actual cost to the contractor for which proof of expenditure shall be submitted to the satisfaction of the Architects with addition of 15% to cover contractors’ profit and overheads.

- Where extra works cannot be properly measured or valued the contractor shall be allowed day work prices at the net rates in accordance with the local day work rates and wages for the district, provided the vouchers specifying the time and name of workmen and materials employed, be made available to the Owner for verification before the end of the week following that in which the work has been executed.

42.  UNFIXED MATERIAL WHEN TAKEN INTO ACCOUNT TO BE THE PROPERTY OF THE OWNER:

Where in any certificate (of which the contractor has received payment) the Owner has included the value of any unfixed materials intended for and / or placed on or adjacent to the works, such materials shall become the property of the Owner and shall not be removed except for use upon the works without the written authority of the Owner. The contractor shall be liable for any loss or damage to such material.

43. TAXES, FOREST ROYALTY, LABOUR LAWS, SEFETY REGULATION ETC.

43.1  The contractor agrees to and does hereby accepts full and exclusive responsibility for the payment of any and all forest royalty, sales taxes, other taxes, imposed as on the date of opening part “B” – price bid of the this tender and all the contributions and taxes for unemployment compensation insurance and obliged old age pensions or annuities imposed as on the date of opening part “B” – price bid of this tender by any central or state Governmental Authority and / or which are imposed with by force of labour laws or other laws affecting owner- employee relationship, and the contractor further agrees to comply, and to secure the compliance  of all sub-contractors with all applicable central state, municipal and local laws and regulation and requirements of any central, state or local governmental agency or authority. The contractor further agrees to defend, identify and hold harmless in perpetuity North Eastern Development Finance Corporation Limited from any liability or penalty which may be imposed by the Central, sate or local authority by reason of any violation by the Contractor or Sub-contractor of such laws, regulations or requirement and also from all claims, suits or proceedings that arise out of or by the reason of work provided by this contractor whether brought by the employees of the contractor, by third parties or by central, state or local authority or any political sub-division thereof.

43.2  Income tax deductible at source (TDS) on account of income tax at and sate government.

  - Works Contract Tax if applicable shall be deducted as applicable from payments due against Contractors’ bill.

44.  LABOUR LAWS:

- No labour below the age of 18 years shall be employed by the contractor.

- The contractor shall pay not less than the fair wage to labourers.

- The Contractor shah at his expense comply with all labour laws and keep the owner indemnified in respect there of.

- In respect of all labour directly or indirectly employed in the works for the performance of the contractor part of the agreement, the contractor shall comply with the cause to be comply with contractors labour regulations made by the government from time to time in regard to payment of wages, recovery of wages not paid and deduction unauthorizedly made, maintenance of wage book / wage slips, publication of scale of wages, and other terms of employment, inspection and submission of periodical returns and all other matters of a like nature.

- The owner shall have the right to deduct from moneys due to the contractor any sum required or estimated to be required for making good the loss suffered by the works the reason of non-fulfillment of the conditions of the contract for the benefit of the workers, non payment for wages or unjustified deduction made forum wages.

All labour directly or indirectly employed by the contractor shall be allowed 1 days’ rest for 6 days continuous work and paid wages at the same rate as for the duty.

45.  DAMAGE TO PROPERTY:

45.1 The contractor shall be responsible for making good to the satisfaction to the owner any loss s of or any damage to all structures and properties belonging to the owner if such loss or damage is due to the negligence or willful acts or omission of the contractor, his employee, representatives or sub-co0ntractors.

The contractor shall indemnify and keep the owner harmless of all claims for damages to property other than owners property arising under or by reason of this agreement if such claims result from the fault / and / or negligence or willful acts or omission of the contractor, his employees, agents, representatives or sub contractors.

46.  CONTRACTOR TO INDEMNIFY THE OWNER:

The contractor shall indemnify the owner against all sections, proceedings and claims, demands, cost and expense whatsoever arising out of or in connection with the matters referred to in clause above and elsewhere and against all actions, proceedings, claims, demands, cost and expenses which may be made against the owner for or in respect of or arising out of any failure by the contractor in the performance of his obligations under the contract documents. The owner shall not be liable for or in respect of any damage or compensation payable at law in respect for consequence of any accident or injury to any workman or other person in the employment of the contractor shall indemnify and keep indemnified the owner against all such damages and compensation and against all claims damages proceedings, cost, charges and expenses whatsoever in respect there of or in relation thereto.

47. INSURANCE OF WORK, INSURANCE AGAINST INJURY TO

PERSONS & PROPERTY:

A	i) The Contractor before commencement of work shall in the joint names of the Employer and the Contractor insure the work for a value not less than contract value of the work against loss and damage from whatever cause including but not limited to fire, lighting, explosion, storm, tempest, flood, bursting or overflowing of water tanks, apparatus or pipes, earthquake, aircraft and other aerial devices or articles dropped there from riot and civil commotion for all work executed and all unfixed materials and goods, delivered to placed on or adjacent to the Work and intended therefore but excluding temporary buildings, plants, tools and equipments owned or hired by the Contractor or any nay Sub-Contractor, and shall keep such work, material and goods so insured until Practical Completion of the Work. Such insurance shall be with insures approved by the Employer and the Contractor shall deposit with the Employer the policy or policies and the receipts in respect of premium paid; and should the Contractor make default in insuring or continuing to insure as aforesaid the Employer may himself insecure against any risk in respect of which the default shall have occurred and deduct a sum equivalent to the amount paid by him in respect of premiums from any monies due or to become due to the Contractor.

ii)	Making Good Damaged Work

Upon acceptance of any claim the insurances aforesaid the Contractor with due diligence shall restore the work damaged replace or repaid any unfixed materials or goods which have been destroyed or injured remove or dispose of any debris Work. All monies received from such insurances (less only the aforesaid percentage) if any shall be paid to the Contractor by installments. The Contractor shall not be entitled to any payment in respect of the restoration of work damaged, the placement and repair of any unfixed materials of goods and the removal and disposal of debris other than the monies received 	under the saved insurances.

B    Insurance against injury to persons and property

i) Without prejudice to his liability to indemnify the Employer under this

Condition the Contractor shall maintain and shall cause any Sub-Contractor to maintain such insurances as are necessary to cover the liability of the Contractor, or as the case may be, of such Sub-Contractor in respect of Personal injury or death arising out of or in the course of or caused by the carrying out of the work not due to any act or neglect of the Employer or of any person for any person for whom the Employer is responsible and in respect of injury or damage to property, real or personal, arising out of or in the course of any negligence, omission or default of the Contractor, his servants or agents or, as the case may be, of such Sub-Contractor, his servants or agents. The insurance in respect of claims for personal injury to, or the death of any person under a contract of service of apprenticeship with the Contractor or Sub-Contractor or as the case may be, and arising out of and in the course of such person’s employment, shall comply with the applicable laws, regulation and any statutory orders made there under or any amendment or reenactment thereof. For all other claims to which this sub-clause applies the insurance cover shall be the sum stated in the Appendix to Form of Tender (Or such greater sum as the Contractor may choose) for any one occurrence or series of occurrences arising out of the event.

ii) As and when he is reasonably required so to do by the Employer the Contractor shall produce and shall cause any Sub-Contractor to produce for inspection by the Employer documentary evidence that the insurances required by this sub-clause is properly maintained, but on any occasion the Employer may (but not unreasonably or vexatiously) require to have produced for his inspection the policy or policies and receipts in question.

C     Injury to Persons and Property & Employer’s Indemnity

i) The contractor shall be liable for and shall indemnify the Employer against any liability, loss or claim, or proceedings whatsoever arising under any statute or at common law in respect of personal injury to or the death of any person whomsoever arising out of or in the course of or caused by the carrying out of the Work, unless due to any actor neglect of the Employer or of any person for whom the Employer is responsible.

ii)	Except of such loss or damage as is at the risk of the Employer under the contract the Contractor shall be liable for and shall indemnify the Employer against, any expense, liability, loss, claim or proceedings in respect of any injury or damage whatsoever to any property real or personal in so far as such injury or damage arises out of or in the course of or by reason of the carrying out of the work, and provided always that the same is due to any negligence, omission or default of the Contractor, his servants or agents or of any Sub-Contractor his servants or agents.

48. SETTLEMENT OF DISPUTE-ARBITRATION:

48.1 All disputes and difference of any kind whatever other than PVA and PVA related matters arising out of or in connection with the contract of carrying out of the works (whether during the progress of the work or after their completion and whether before or after determination abandonment or breach of the contractor) shall be referred to and settled by an Arbitrator who shall state his decision in writing.

48.2 Not withstanding the above, if the contractor(s) does not make any demand for arbitration as per latest amendment in respect of any claims within 90 days of receiving intimation from the owner / architects that the bill after due verification is passed for payment of a lesser amount, or otherwise, the contractor right under this contract to refer to arbitration shall be deemed to have been forfeited and the owner shall be relieved and discharged of his liabilities under the agreement in respect of such claims. Further it is agreed that for the purpose of this clause, such notice is deemed to have been receive by the contractor within 2days of posting of such notice by the owner / Architect or when delivered by hand immediately after receipt thereof by the contractors.

48.3 In all cases where the amount of the claim of the dispute Rs. 75,000.00 (Rupees Seventy Five thousand) only and above the arbitrator shall give reasons for his award in terms of Arbitration & Conciliation Act, 1996 (as amended)

48.4 such decisions may be in the form of such decision that shall be in the form of an award as prescribed by the applicable law & shall be final & binding on both the parties. However if either the owner or the contractor were dissatisfied with the decision of the Arbitrator or any matter, questions or disputes of any kind may within 28 days after receiving notice of such decisions give a written notice to the other party requiring that such matters in dispute be arbitrated upon.

  - Such written notice shall specify the matters which are in dispute and as such dispute or difference of which such written notice has been given and no other matters shall be and is hereby referred to the competent authority prescribed under the Indian Arbitration & cancellation act, 1996(as emended) with an application to the effect that a single arbitrator be appointed being a fellow of the Indian Institute of Architects / or a full member of Institution of Engineers (India ) to be agreed upon and appointed by both parties, or in ace of disagreement as to the appointed of a single arbitrator, of two arbitrators., both being fellows of Indian Institute of Architects / or a full member of Institution of Engineers ( India ).

  - The Arbitrator, Arbitrators or Umpire shall have power to open up, review and revise any certificates, opinion, decision, requisition or notice save in regards to excepted matters and to determine all matters in dispute which shall be submitted to him or them and of which notice shall have been given as aforesaid.

  - Upon every and any such reference the cost of and incidental to the reference and award respectively shall be in the discretion of the Arbitrator or arbitrators or Umpire. Who may determine the amount thereof or direct the same to be taxed as between atomies and client or as between party and party and shall direct by whom and to whom and in what manner the same shall be borne and paid.

  - The submission shall be deemed to be a submission to Arbitrator within the meaning of Arbitration & Conciliation Act, 1996 (as amended), or any statutory modification thereof. The award of the Arbitrator, Arbitrators or umpire shall be final and binding on the parties. Such reference except as to the withholding by owner of any certificate under clauses 53.1 to which the contractor claims to be entitled, shall not be open or entered upon until after the completion or alleged completion of the work or until after the practical cessation of the works arising from any cause, unless with the written consent of the owner and the contractor. Provided always that the owner shall not withhold the payment of an interim certificate, nor the contractor except with the consent in writing of the Architects in any way delay the carrying out of the works by the reason of any such matter, questions or dispute, being referred to Arbitration, but shall proceed with the work with all due diligence and shall until the decision of the Arbitrator.

49. ENGAGEMENT OF APPRENTICES BY THE CONTRACTOR:

The contractor shall comply with the provision of Apprentices Act 1961 and the Rules and orders issued there under from time to time. Fail our to do so will be a breach of contract and the owner in his discretion cancel the contract. The Contractor shall also be liable for any pecuniary or other liabilities arising on account of any violation by him of the provisions of the Act.

50. EXCEPTED MATTERS:

The decision opinion, direction, certificate (except for Payment) with respect to all or any of the matter under GCC clause of the Owner shall be final, Conclusive and binding on the parties hereto and without appeal. .

51. SAFETY CODE:

  - The contractor should maintain all first aid appliances including adequate supply of sterilized dressing and cotton wool in readily accessible place.

  - In case of any injured person if it is needed hospitalization even after proper first aid treatment then the injured person should be admitted to the nearest  hospital without loss of time.

51.3  SCAFFOLDFS:

(i) Suitable scaffolds shall be provided for workman for all work that cannot be safely be done from the ground, or from solid construction except incase of short duration work, which can be done safely from ladders. When a ladder is used, it shall be of rigid construction made of either good quality wood or steel. The steps shall have a minimum width of 450mm and maximum rise of 300mm. Suitable hand holds of good quality wood or steel shall be provided and the ladder shall be given an inclination not steeper than ¼ to 1 (¼ horizontal and 1 vertical).

(ii) Scaffolding or staging more than 4m. above the ground floor swung or                 suspended from an overhead support or erected with stationary support shall have a gourd rail properly bolted, braced or otherwise secured, at least 1m. above the floor or platform of such scaffolding or staging  and extending along the entire length of the outside and ends thereof with only such openings as may be necessary for the delivery of the materials. such scaffolding or staging  shall be so fastened as to prevent it from swaying from the building or structure.

(iii)  working platforms, gangways and stairways shall be so constructed that they do not sag unduly or unequally and if the height of the platform, gangway, stairway is more than 4m above ground   level or floor level , they shall be closely boarded and shall have adequate width and be suitably fenced as described in (ii) above.

(iv) Every opening in the floor of the building or in working platform shall be provided with suitable means to prevent the fall of persons or materials by providing suitable fencing or railing whose minimum length shall be 1m.

Wherever there are open excavations in ground, they shall be fenced off by suitable railing and danger signals installed at night so as to prevent persons slipping into the excavations.

(v) Safe means of access shall be provided to all working places. Every ladder shall be securely fixed. No portable signal ladder shall be over 9m. in length while the width between side rails in rung ladder shall in no case be less than 290mm for ladder up to and including 3m. In length. For longer ladders this width shall be increased at least 20mm for each additional meter or length.

(vi) A sketch of the ladders and scaffolds proposed to be used shall be prepared and approved of the EIC obtained prior to construction.

  - OTHER SAFETY MEASURES:

(i) All personal of the Contractor working within the plant site shall be provided with safety helmets. All welders shall wear welding goggles while doing welding work and all metal workers shall be provided with safety gloves. Persons employed on metal cutting and grinding shall wear safety glasses.

(ii) Adequate precautions shall be taken to prevent danger from electrical equipment. No materials on any of the sites of work shall be stacked or placed as to cause danger or inconvenience to any person or the public. All safety rules to be observed while working on live electrical system or installation as stipulated in IE. Rules shall be observed.

  - PERSONAL SAFETY EQUIPMENT:

- all necessary personal safety equipment as considered adequate by the engineer should be kept available for the use of the person employed on the site and maintained in a condition suitable for immediate use, and the contractor should take adequate steps to ensure proper use of equipment by those concerned.

- Workman engaged in welding works shall be provided with welder’s protective eyesight lids.

- The contractor shall not employ men below the age of 18 years and women on the work of painting with products containing lead or any toxic material in any form. Wherever men above the age of 18 years are employed on the work of such painting, the following precaution shall be taken:

i)  No paint containing lead or lead products shall be used except in the form of paste or readymade paint. Paints like vinyls and epoxies   having toxic fumes should be applied following all precautions laid down by manufacturers.

ii)   Suitable face masks should be supplied for use by the workers when paint is applied in the form of spray or surface having lead paint dry rubbed and scrapped.

iii)  Overalls shall be supplied by the contractor to the workman and adequate facilities shall be provided to enable the working painters to wash during the cessation of work.

iv)  When the work is done near any public place where there is any risk of drawings all necessary equipment should be provided and kept ready for the use and all necessary steps for prompt rescue of any person in danger and adequate provision should be made for prompt first aid treatment of all injuries likely to be sustained during the course of work.

  - HOISTING MACHINES:

i)  Use of hoisting machines and tackle including their attachments anchorage and supports shall conform to the following standards or conditions :

a)  These shall be of good mechanical constructions sound material and adequate strength and free from patent defect  and shall be kept in good repair and in good working order.

b)  Every rope in hoisting or lowering materials or as means of suspension shall be of durable quality and adequate strength and free from patent defects.

ii)  Every crane driver or hoisting appliance operator shall be properly qualified and no person under the age of 21 years shall be in-charge of  any hoisting machine including any scaffolding  winch or give signals to operators.

iii)  In case  of every hoisting machine and of every chain ring hook, shackle shovel and pulley block used in hoisting or as means of suspension the safe working load shall be ascertained by adequate means.  Every hoisting machines and all gear referred to above shall be plainly marked with the safe working load. In case of a hoisting machine having a variable safe working load, each safe working load and the conditions under which it is applicable shall be clearly indicated. No part of any machine or any gear referred to above in the paragraph shall be loaded beyond the safe working load except for the purpose of testing.

iv)  In case of departmental machines, the safe working load shall be notified by the engineer. As regards contractors’ machines, the contractor shall notify the safe working load of the machine to the engineer whenever he brings any machinery to site of work and get it verified by the engineer concerned.

v)  Motors, gearing, transmission, electric wiring and other dangerous part of hoisting appliances should be provided with efficient safeguards. Hoisting appliances should be provided with such mean as will reduce to the minimum of the risk of any part of a suspended load becoming accidentally displaced. When workers are employed on electrical installation that are already energized, insulating mats, wearing apparel, such as gloves, sleeves and boots as may be necessary should be provided. The workers should not wear any rings, watches, and carry keys or other materials that are good conductors of electricity.

vi)  All scaffolds, ladders and other safety devices mentioned or descried herein shall be maintained in safe condition and scaffold, ladder or equipment shall be altered or removed while it is in use. Adequate washing facilities should be provided at or near places of work.

vii)  These safety provisions should be brought to the notice of all concerned by display on a notice board at a prominent place at work spot. The person responsible for compliance of the safety code shall be named therein by the contractor.

viii)  To ensure effective enforcement of the rules and regulation relating to safety precaution the arrangement made by the contractor shall be opened to inspection by the Labour Officer, Engineers of the department or their representatives.

ix) Not withstanding the above clause from I) to viii), there is nothing in these to exempt the contractor from the operations of any other act or rule in force in the republic of India.

52. FORM OF BANK GUARANTEE IN LIEU OF EMD, INITIAL SECURITY DEPOSIT AND FINAL SECURITY DEPOSIT:

FORM OF BANK GUARANTEE IN LIEU OF EARNEST MONEY DEPOSIT (Clause 4.1 of “instruction to bidders”), INITIAL SECURITY DEPOSIT (Clause 4.2 of “instruction to bidders”) and FINAL SECURITY DEPOSIT (Clause 4.3 of “instruction to bidders”)

…………………………………………………………………………………………..

To:

Dear Sir,

In consideration of the                                              (herein after called the owner) having invited tenders in respect of proposed Interior works at                            (herein after called “the said works” ) upon certain condition inter alia mentioned in the safe tender documents and inclusive of the condition that the owner may accept a Bank guarantee of a schedule / nationalized bank in lieu of case earnest money deposit / initial security deposit / final security deposit, we ………. (Name of the bank) do hereby undertake to pay to the owner an amount not exceeding rupees ……….(rupees …..only) against any loss or damage caused to or suffered by the owner by reasons of any breach of any of the terms and condition to the said tender documents  by ……………( name and add.of the bidders):

We,                  (name of the bank), a body registered / constituted under the called

“ The bank”) at the request of the said bidder and with the intend to bind the bank and its successors and permitted assigns, do hereby unconditionally and irrecoverably guarantee payment to the owner a sum of rupees ……….. (rupees ….only) and undertake to pay the said owner on demand and without protest or demur the said Rs.  …….. ( rupees …..only) due and payable under this guarantee / undertaking without any demur. Any such demand made on the bank by the said owner shall be conclusive as regards the amount due payable by the bank under this guarantee / undertaking. However, our liability under this guarantee / undertaking shall be restricted to an amount not exceeding Rs………..(rupees ….only).

and the bank both hereby further agree as follows :

i)  This guarantee / undertaking herein contained shall remain in full force and effect during the period that would be taken for the performance of the said contract and the claims of the owner relative there to are satisfied and / or discharged and until the owner discharges this guarantee/ under taking subject, however, that the owner shall have no claim under this guarantee / undertaking after …………year, unless a notice of the claim under this guarantee / undertaking has been served on the bank before the expiry of  the said date, in which event the same shall be enforceable against the bank notwithstanding that the same is enforced after the expiry of the said date, namely ……………..year.

ii)  The owner shall have the fullest liberty without reference to the bank and without affecting in any way the liability of the bank under this guarantee / undertaking , at any time and / or from time to time anywise vary the said contract and / or any of the terms and conditions thereof  or of or relative to the said earnest money / initial security/ final security deposit  or to extend time of performance of the said contract5 in whole or part or to postpone for any time and / or from time to time any of the obligations of the contractor and  / or the power exercisable by the owner against the contractor and either to enforce or for bear from enforcing any of the terms and condition or of governing the said contract or the said earnest money / initial security / final security deposit or the securities available to the owner or any of them and the bank shall not be released from its liability under this presence and the liability of the bank shall remain in full force and affect notwithstanding any exercise by the owner of any liberty with reference to any or all the matters afore said or by reason time being given to the contractor or any other forbearance, act or omission on the part of the owner or any indulgence by the owner to the contractor or of any other act, Mattel or thing whatsoever which under the law relating to sureties would, but for this provision, have the effect of releasing the bank from its liability hereunder or any part thereof.

iii)  It shall not be necessary for the owner to proceed against the contractor before proceeding against the bank and the guarantee / undertaking herein contained shall be enforceable against the bank notwithstanding the existence of any other security for any indebtedness of the contractor to the owner ( including relative to the said earnest money / initial security / final security deposit) and notwithstanding that any such security shall at the time when claim is made against the bank or proceedings taken against the bank here under , the outstanding or unrealized.

- The amount stated by the owner in any demand, claim or notice as the unpaid balance of the said earnest money / initial security / final security deposit for the time being shall as between the bank and the owner for the purposes of this presence be conclusive of the said balance

- The liability of the bank to the owner under this guarantee / undertaking shall remain in full force and effect notwithstanding the existence of any difference of dispute between the contractor and the owner and / or the existence of any difference of dispute between the contractor and the bank and / and or the existence of any difference of dispute between the bank and the owner or otherwise howsoever touching or affecting this present or the liability of the contractor to the owner, and notwithstanding the existence or any instructions or purported instructions by the contractor or any other persons to the bank not to pay or for any cause or to withhold or defer payment to the owner under the presence with the intent that notwithstanding the existence of such difference, disputes or instruction the bank shall be and remain liable to make payment to the owner in terms hereof.

- The bank shall not revoke this guarantee / undertaking during its currency except with the previous consent of the owner in writing and also agree that any change in the constitution of the contractor or the bank or the owner shall not discharge the banks liability hereunder.

- The bank doth hereby declare that Shri. …………………………………..

(Name of the person signing on behalf of the bank)

who is, …………………………………………., (his designation) is authorized to sign this guarantee / undertaking on behalf of the bank and to bind the bank thereby.

Dated this                                       day of                                          2018

Yours faithfully

For

Date :                                                                                 Signature

Name and designation

Name of the branch

53. BILL FORMAT:

Bill Format:

Running A/C Bill:

  - Name of work:

  - Name of Owner:

  - Name of Contractor:

  - Accepted contract amount:

  - Date of commencement:

  - Stipulated date of completion:

  - Actual date of completion:

(Applicable for final bill only):

  - Extension of time, if any:

  - Insurance valid upto

- Workmen Compensation Act:

- Contractors all risks comprehensiveInsurance policy:

  - Labour Licence No.  and date and valid up to:

  - Serial No. of the Bills:

  - No. & date of previous Bill:

  - Ref. to Agreement dated:

  - Earnest Money deposit:

  - Total retention money excluding E.M. upto this bill:

  - Total retention money including E.M. as per contract:

  - Period of execution of work for which has been prepared (dates to be mentioned)  From__________ to____________

| Sl no: | Item Description | Unit | Rate (Rs.) | Qty. | As per Tender Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |

| Up to Previous R/A Bill |  | Present Bill |  |
| --- | --- | --- | --- |
| Qty. | Amount (Rs.) | Qty. | Amount (Rs.) |
| 7 | 8 | 9 | 10 |

| Up to date (Gross) |  | Remarks |
| --- | --- | --- |
| Qty. | Amount (Rs.) | 13 |
| 11 | 12 |  |

Note:

1. If part rates are allowed for any item, it should be indicated with reasons for allowing such a rate:                        Net Value (A) since previous bill

2. If ad-hoc payment is made, it should be mentioned specially:

Signatures:

Dates:                      EIC                         Architect                  Contractor

54. ACCOUNTS OF SECURED ADVANCE FORMAT.

ACCOUNT OF SECURED ADVANCE, IF ADMISSIBLE ON MATERIAL HELD AT SITE BY THE CONTRACTOR:

| Sl no: | Item | Qty | Unit | Amount | Remarks |
| --- | --- | --- | --- | --- | --- |

Total value of materials at site

Secured Advance @  _______% of above value.

Certified (i) that the materials mentioned above have actually been brought by the contractor to the site of the work and no advance on any quantity of any of this item is outstanding on their security, (ii) that the materials (are of imperishable nature) and are all required by the Contractor for use in the work in connection with the items for which rates of finished work have been agreed upon.

Date:						Signature of Site Engineer / EIC

Date:						Signature of Contractor

55. FORMAT OF BOND FOR SECURED ADVANCE:

BOND FOR SECURED ADVANCE

Know all Men by these present that we,

Engaged as contractor by                                                             (hereinafter known as the owner) for the Interior & furnishing works for Namchi Branch Office, upon the terms & conditions as mentioned in the work order from the Owner and assigns  firmly by these presents duly signed by us dated:

Where as the owner allowed us secured Advance for various constructional material lying at site for an amount of Rs.                                                 (Rupees			   ) in our                   Bill for the above work. Whereas these are lying in our safe custody in our store at the site of work. The owner has full and complete lien over these materials. We hereby undertake to provide full security arrangements and protection of the materials at our own risk & costs. The material will be utilized by us from time to time for the benefited purpose on the work after giving prior intimation to the owner.

We further indemnity the owner on the materials from all risks & responsibilities. In the event of any unfortunate eventually, we take full responsibility to replace the damaged / missing materials entirely at our cost. We agree not to shift these materials from the present site store without the owner’s prior permission or concurrence.

It is hereby further agreed that the said secured advance may either be adjusted from our running bills or the materials can be lifted form our site at any time if  you may kindly desire.

This bond shall became invalid only after all the secured advance paid to us is fully adjusted / recovered through running account or final bills payable to us under the contract.

In presence of:

  - Signed for and on behalf of the contractor

Date:							(signature & seal of the contractor)

56. ACCOUNTS OF SECURED ADVANCE, IF ADMISSIBLE ON MATERIALS HELD AT SITE BY THE CONTRACTOR:

| Sl no: | Item | Quantity | Unit | Amount | Remarks |
| --- | --- | --- | --- | --- | --- |

Total value of materials at site

Secured advance @               % of above value.

Certified (i) that the materials mentioned above have actually been brought by the contractor to the site of the work and no advance on any quantity of any of this item is outstanding on their security, (ii) that the materials (are of imperishable nature) and are all required by the Contractor for use in the work in connection with the items for which rates of finished work have been agreed upon.

Date:						Signature of Site Engineer / EIC

Date:						Signature of Contractor

57. INFORMATION ABOUT THE BIDDER:

Information about the Bidder:

As prescribed in this tender document, the bidder shall furnish the following information about himself in his tender:

    - Name of Bidder:

    - Constitution- Preparatory firm / Partnership / Limited Co.

    - Address:

    - Name/s of Proprietor, Partners, directors:

    - Telephone / fax nos:

    - E mail:

    - List of works executed-

    - List of works in hand:

    - Copy of Balance sheet for FY 2018-19 & 2019-20 & 2020-21: Enclosed

    - Permanent Account Number (PAN) with IT Department, Govt. of India.

    - GST Number

    - Any other relevant information the Bidder wishes to furnish in support of his tender:

58. WATCHING & LIGHTING

The Contractor shall in connection with the work provide and maintain at his own cost all lights, guard, fencing and watch & ward staff when and where necessary or required by the Owner for the protection of the work or for the safety and convenience of the public or others.

59.    CVC CLAUSE

If it shall appear to the Employer or to the Chief Technical Examiner, Central Vigilance Commission, Govt. of India at any time during the construction or prior to the expiration of the maintenance period that any work has been executed with unsound, imperfect or unskillful workmanship or with materials of any inferior description or that any materials or articles provided by him for the execution of the work are unsound or of a quality inferior to that contracted for, or not otherwise in accordance with the contract, the Contractor shall, on demand in writing from the Employer specifying the work, fault, materials  or articles complained of, notwithstanding that the same may have been passed certified and paid for, forthwith rectify or remove and reconstruct the work so specified in whole or in part, as the case may require or as the case may be, remove the materials or articles so specified and provide other proper and suitable materials or articles so specified and provide other proper articles at his own expense, charges and cost; and in the event of his failing to do so within a period to be specified by the Employer in his demand aforesaid, the Employer may carry out the work by other means at the risk and expenses in all respects of the contract. The Contractor shall be liable to pay compensation at the rate of one per cent of the estimated amount put to tender for every day not exceeding ten days, apart from the expenses incurred by the Employer in rectifying and removing and re-executing the work or removing and replacing with the materials or articles complained of as the case may be.

All work under or in course of execution or executed in pursuance of the contract shall art all times be open to the inspection and supervision of the Employer as well as the Architects and that authorized subordinates and the Contractor shall at all times during the usual working hours and at all other times at which reasonable notice of the intention of the Employer or Architects or their authorized subordinates to visit the work shall have been given to the Contractor, either himself be present or receive order or instructions or have a responsible agent duly accredited in writing present for that purpose. Orders given to the Contractor’s agent shall be considered to have the same force as if they had been given to the Contractor himself. The work during its progress can also be inspected by the Chief Technical Examiner on behalf of the Employer.

Employer shall have right to cause and audit an technical examination of the work and the final bills of the Contractor including all supporting voucher, abstract etc. to be made after payment of the final bill and if as a result of such audit and technical examination any sum is found to have been overpaid in respect of any work by the  Contractor under the contract or any work claimed by him to have been done by him under the contract and found not have been executed, the contractor shall be liable to refund the amount of over-payment and it shall be lawful for the Employer to recover the same from him in the manner as prescribed or in any other manner legally permissible; and if it is found that the contractor was paid less than what was due to him under the Contract in respect of any work executed by him under it, the amount of such underpayment shall be duly paid by the Employer to the contractor.

Provided that the Employer shall not be entitled to recover any sum overpaid nor the contractor shall be entitled to payment of any sum paid short where such payment has been agreed upon between the Employer on one hand the contractor on the other, under any term of the contract permitting payment for work after assessment by the Employer.

SPECIAL CONDITIONS OF CONTRACT

INDEX

Clause        Description

No.

- Scope of Work

- Location of Site

- Site Condition

- Dimensions and Levels

- Programme of work and method of construction

- Construction Records

- Safety of adjacent Structures and Trees

- Power, Water and other facilities

- Procurement of Materials

- Employer’s supply of materials

- Temporary Services

- Unauthorized persons

- Keeping site clean

- Office Accommodation for Contractor, Architect’s representative and Employer’s representative.

- Lighting for work

- Site Instruction Book

- Progress Report

- Site Meetings

- Notice to local bodies

- Contractor to verify site measurements

- Materials and workmanship to be best of the respective kind

- Samples

- Shop Drawings

- As Built Drawings

- Photographs of carried out

- Approved Makes

- Dismissal of undesirable persons

- Access to the work

- Supervising Officer’s Instructions

- Occupation of partially completed Building by the Employer

- Issue of Extra Construction Drawings

- Guarantee of Specialized Work

- Safety

SPECIAL CONDITIONS OF CONTRACT

- Scope of Work

The scope of this work is to furnish Guwahati branch premise at BSNL Office, CTO building, Panbazar, Guwahati-781001. The details of work are contained in the enclosed Drawings, Specification and Bill of Quantities.

- Location of Site

The site is located at BSNL Office, CTO building, Panbazar, Guwahati-781001.

- Site Condition

The site where the work has to be undertaken is a G+3 RCC building where offices of other  organizations are located. Care shall be taken to ensure that the occupants of the premises are least inconvenienced.

- Dimensions & Levels

All dimensions and levels shown on the Drawings shall be verified by the Contractor on the Site and he will be held responsible for the accuracy and maintenance of all dimensions and levels.

Figured dimensions are in all cases to be accepted and no dimension shall be scaled. Large scale details shall take precedence over small scale drawings. In case of discrepancy the Contractor shall ask for clarification from the Owner before proceeding with the work.

- Programme of Work & Method of Construction

The Contractor shall submit to the Owner before the commencement of the work, for his approval all the information relating to programme of the construction.

- Construction Records

The Contractor shall keep and supply to the Owner full and accurate records of the dimensions and positions of all new work and any other information necessary for the Owner to be able to prepare complete drawings recording details of the work as constructed.

7.0   Safety of Adjacent Structures

The Contractor shall provide and erect such supports as may be required to protect the efficiency of all structures which may be endangered by the execution of the work or otherwise take such permanent measures as may be required by the Owner to protect the structures and trees.

8.0    Power, Water and other facilities

The Contractor shall be responsible to provide within the scope of work all facilities necessary for the performance of the work including (but not limit to) water, electrical power through generator, transportation, labour tools, construction and testing equipment and machinery, borrow areas, access roads and right(s) of way to or about the job site(s) and or borrow areas.

The owner does not warranty or undertake the provision of any facility aforesaid or otherwise whatever to the Contractor, or assistance in obtaining / procuring the same or other assistance whatever for or in the performance or testing of the work and the Contractor shall not imply by conduct, expression or assurance or by any other means, any promise or obligation on the part of the owner contrary to the provision hereof and any such promise or obligation understood by the Contractor shall not be binding upon the Owner.

Any assistance which the owner renders to the Contractor in terms hereof or otherwise relative to the work by provision of any facility, water, power etc as above shall not for any cause afford a basis or defense to the Contractor for any of his obligations under the contract nor ground for extension of time for completion.

9.0	Procurement of Materials

It shall be the responsibility of the Contractor to procure and bring to site of work all materials required for fulfilling the Contract.

10.0	Employer’s Supply of Materials

The Employer, entirely at their own discretion may decide to supply some materials. In such a case the rates of items of work affected due to such supply shall be suitably varied as per analysis of rates as decided by the Owner. No additional claim on this respect from the Contractor shall be entertained.

11.0	Temporary Services

The Contractor shall provide and maintain all temporary services on or about the site required for execution of the work and shall remove them on completion.

12.0	Unauthorized Persons

No unauthorized persons are to be allowed on the site. The Contractor shall instruct all such persons to keep out and shall take steps to prevent trespass.

13.0	Keeping Site Clean

During the progress of the work, the Contractor shall keep the site clear of all rubbish and debris including that which may be deposited on the site by any sub-contractors until the date of issue of certificate of completion. The cost of keeping the site clean shall be deemed to have been included for in the rates.

On completion of the work, the Contractor shall at his own expense clear away and remove from the site not later than 7 days from the date of completion of work all constructional plant, surplus material, rubbish and temporary work of every kind and leave the entire site and work clean and in a workmanlike condition to the satisfaction of the Employer.

14.0	Office Accommodation for Contractor and Employer’s Representative

The Contractor shall provide and maintain all necessary office/s, workshops, stores, shelters, sanitary facilities, canteens and other buildings for themselves and their staff at site.

All such facilities shall be removed at the completion of project or at any later date as approved.

15.0	Lighting of Work

The Contractor shall at all times provide approved lighting as required for the proper execution and supervision of the work.

16.0	Site Instruction Book

The Contractor shall keep a site instruction book with triplicate pages, on the site in which Owner’s remarks, instructions, decisions and other essential details, of the work shall be recorded. The Contractor shall regularly note the contents of this book and initial it signifying his having done so and take immediate action on the same. A copy of the instruction shall be made available to the Contractor immediately

17.0   Progress Report

The Contractor shall submit regular weekly progress reports to the Owner in a form as required which shall also include progress photographs of the work arranged at contractors cost.

18.0 Site Meeting:

The site meeting is most important part, to discuss about the problems, discrepancies, progress of the work in coordination with the Owner and contractors. The contractor has to fixed and intimate Owner by written approval for such.

19.0	Notice to local bodies

The Contractor shall comply with and give all notices required under any Government authority, instruction, rule or order made under any act of Parliament, state law as or any regulations or byelaws of any local authority relating to the work.

20.0 Contractor to verify site Measurements

The contractor shall check and verify all site measurements whenever requested by other specialists, Contractors or by nominated or other sub-contractor to enable them to prepare their own shop drawings and pass on the information, with sufficient promptness as will not in any way delay the work. A copy of all such information passed on shall be given to the Owner.

21.0	Materials and Workmanship to be best of the respective kind

- All materials, goods and workmanship shall as far as procurable be the best of the respective kinds and standards described in the Contract.

- The Contractor shall upon the request of the Owner furnish him with the documentation to prove that the materials and goods comply with sub-clause (1) of this condition.

- The Owner may issue instructions requiring the Contractor to open up for inspecting any work covered up or to arrange for or carry out any test of any materials or goods (whether or not already incorporated in the work) or of any executed work, and the cost of such opening up or testing (together with the cost of making good consequence thereof) shall be added to the Contract price unless provided for in the Contract or unless the inspection or test shows that the work, materials or goods are not in accordance with the Contract.

- The EIC may issue instructions in regard to the removal from the site of any work , materials or goods which are not in accordance with this Contract.

22.0	Samples

Apart from adhering to any special provision made in the specifications regarding submission of samples the Contractor shall produce to the EIC as and when advised by the Employer along with the detailed literature of all materials he proposes to use in the building irrespective of the fact that a specific make/material might have been stipulated. If certain items proposed to be used are of such nature that samples cannot be presented or prepared at the site, detailed literature / test certificate of the same shall be provided instead. Before submitting the samples / literature meet with requirement of the specification. The EIC shall check the samples and give his comments and/or approval to the same. Only when the samples are approved in writing, he shall proceed with the procurement and installation of the same. The approved samples shall be signed by the EIC for identification and shall be kept on record at his office until the completion and acceptance of the work and shall be available at the site for inspection/comparison at any time. The Contractor shall keep with him a duplicate of such samples to enable him to process the matter.

For items of work where the samples are to be made at the site the same procedure shall be followed. All such samples shall be prepared at a place where it can be left undistributed until the completion of the period.

The Owner shall give comments / approval to the samples at his earliest convenience. Any delay that might occur in approving of the samples for reasons of its not meeting with the specifications shall be to the account of the Contractor.

23.0	Shop Drawing

The Owner will provide shop drawings for specialist trades such as Sanitary & Plumbing, Electrical conduct layout, Fire alarm and suppression system, False Ceiling, Aluminum Doors & Windows, removable partitions and any other item as stipulated in the specifications.

24.0	As Built Drawing

The Contractor shall furnish 3 sets of prints and one set of negatives of drawings “as erected” and approved for sanitary / plumbing installations and the electrical, telephone, computer wiring diagram.

    - Photographs of carried out:

The contractor should carried out photographs of the progress time to time to the    owner for the approval of their works. This photographs will be the evidence of their progress of work.

26.0	Approved Makes

The specifications provide a list of approved makes of some materials specified. The Employer/Architect has the right to choose any of the approved makes from the list which according to him suits the best, most suitable for the purpose and which suits to the interior designing, and the contractor shall arrange for this make in the work. The tender price quoted shall cover for this aspect. Only when it is not possible to use any of the approved makes, either due to non availability or due to technical reasons with valid evidence, the Contractor shall propose alternative materials and if found suitable these shall be approved by the Owner/Architect for construction but without any extra cost to the Employer. The Architect/Employer at their decision may even choose a different material or brand make, not specified in the Tender/drawings for better interest of the interior designing and furnishing.

27.0	Dismissal of Undesirable Persons

The Owner may (but not unreasonably or vexatiously) issue instructions requiring the dismissal from the work of any person employed thereon who is found by him to be undesirable.

28.0	Access to the Work

The Employer/Authorised Representative and his nominees shall at all reasonable times have access to the work and to the workshops or other places of the Contractor or his Sub-contractors/suppliers where work is being carried out for the Contract. When work is to be so carried out in workshops or other places of a sub-contractor the contractor shall by a term in the sub-contract incorporate a similar right of access to those workshops or places for the Employer/ Architect/Architect’s Representative and their nominees and shall do all things reasonably necessary to make such right effective.

29.0	Supervising Officer’s Instruction

- The Contractor shall forthwith comply with all instructions issued to him by the Architect/Architect’s Representative in regard to any matter in respect of which the Architect/Architect’s Representative expressly empowered by these conditions to issue instructions. If within seven days after receipt of a written notice from the Architect/Architect’s Representative requiring compliance with an instruction the Contractor does not comply therewith, then the Employer may employ and pay other persons to execute any work whatsoever which may be necessary to give effect to such instruction and all cost incurred in connection with such action shall be recoverable from the Contractor by the Employer as a debt or may be deducted by him from any monies due or to become due to the Contractor under this Contract.

30.0	Occupation of Partially completed Building by the Employer

The Employer shall be entitled to and at liberty to occupy even the partially completed building or any portion there of by themselves or through their agents and servants if they so desire

31. 0.   Issue of Extra Construction Drawings

Extra prints of drawings for construction to be issued on chargeable basis by the Owner detailed under:

A0 Size	Rs.250.00 each

AI Size	Rs.200.00 each

A2 Size	Rs.150.00 each

Drawing larger than A0 issued for construction work shall be charged at Rs.75.00 each

32.0        Guarantee for the Specialized Work

Whenever provision for submission of a guarantee has been advised, the same shall be submitted from the specialized agency along with a counter guarantee by the main contractor engaged for the work. The guarantee shall be furnished on a non-judicial stamp paper of appropriate value. If the contractor is required to submit guarantee / guarantees in case of those items shall remain valid even after expiry of the defect liability period of 6 months as stipulated in the contract.

33.0	Safety:

The contractor shall fulfill all safety requirements at project site. The safety precautions shall meet all applicable laws, regulations, local rules as applicable at the time of project execution.

The safety precautions shall safeguard contractors and owner’s personnel.

Contractor shall not use any such methods or implements which endanger the safety of any / other personnel.

Protective clothing, devices and helmets shall be used as per the standard and norms.

APPROVED MANUFACTURES LIST

MATERIAL AND BRANDLIST  WITH MANUFACTURE SPECIFICATION

FOR THE PROPOSED INTERIOR WORKS OF NEDFi BRANH OFFICE AT GUWAHATI

Note:	All materials shall be of the first quality.

Wherever contractor proposes to use makes (i.e. other than specified) the same shall be done after prior approval of the Employer. Any additional expenditure and time due to this shall be solely on Contractor’s account and no claims whatsoever shall be entertained, in this regards.

| Sl No: | MATERIAL | APPROVED MANUFACTURER / BRAND |
| --- | --- | --- |
|  | Cement | STAR, L&T, AMBHUJA |
|  | Vitrified Tiles | KAJARIA, ORIENT, OREVA |
|  | Ceramic Floor Tiles | KAJARIA, OREVA,ORIENT |
|  | Sanitary Fitting like W.C. Wash Basin,Pans, Urinals, etc. | ROCA, LIBERTY, KARAMID |
|  | PVC Pipes & Fittings | PRINCE, AKG, SUPREME |
|  | Cp fittings & Accessories | GROHE/JAQUAR/ CRABTREE |
|  | Sensor controlled auto flushing Systems & electrical lights & Gadgets. | GROHE/ ROBO |
|  | Gypsum Board | INDIA GYPSUM LTD |
|  | Pre–fabricated ceiling & Grid ceiling | AMF/ ARMSTRONG OR EQV. |
|  | Pre- Fabricated Acoustical Ceiling | AMF OR EQV. |
|  | Wood | TEAK, SAL, HOLLOCK |
|  | Marine Plywood /Block board/ Flush Doors | ARCHIDPLY/ GREENPLY/ CENTURY ARCHITECT, MAYUR or equivalent |
|  | MDF Board | MERINO/ BAJAJ ECOTECH/ ARCHIDPLY or equivalent |
|  | Wood Preservatives | WOODGUARD / TERMISIL or Eqv. |
|  | Wood Veneer | ARCHIDPLY/ CENTURYARCHITECT OR EQV. |
|  | Laminates | ARCHIDPLY/ GREENLAM/ MERINO or equivalent |
|  | Adhesive | FEVICOL, FEVICOL SH, ARALDITE OF HINDUSTAN CIBAGEIGY LTD or Eqv. |
|  | Screws (Oxidized) | GKW or eqv. |
|  | Hardware | VISTA, GEZE or Eqv. |
|  | Locks | VISTA , GEZE or equiv |
|  | Door Closers | VISTA, GEZE or Eqv. |
| Sl No: | MATERIAL | APPROVED MANUFACTURER / BRAND |
|  | Floor Springs | VISTA/ DORMA . |
|  | Door Knob / Handle | VISTA or equiv |
|  | Drawer Slides | HAFFLE/ HETTICH or Eqv. |
|  | Drawer Locks | EFFICIENT, HAFFLE, DOORSET, |
|  | PVC Flooring | ARMSTRONG or eqv. |
|  | Rubber Foams in chairs/sofas | MM FOAMS or Eqv. |
|  | Paints / Polish | ASIAN, ICI, GARWARE, COREAN IKOS or Eqv. |
|  | Homogenous mirror finished vitrified tiles | KAJARIA/ ORIENT/OREVA |
|  | Italian & Onyx Marble | EURO Marble or As per Architect’s Approval. |
|  | Glass | ASAHI, SAINT-GOBIN, With ETCHING AS PER LOCAL VENDOR |
|  | Glass Film | 3M or equivalent |
|  | Laminated Flooring | VISTA or equivalent |
|  | Carpet Flooring | UNITEX, VISTA or Eqv. |
|  | Blinds | LIVIN, ALMEDAH or Eqv. |
|  | Texture Paint & Wall Paper | As Per ARCHITECTS Approval & Design |
|  | Chairs | FEATHERLITE/ GODREJ/ GEEKYEN or Eqv. |
|  | Special PVC flooring | LG-EQ or Eqv. |
|  | Wires (HRFR) | R.R. KABEL or Eqv. |
|  | Data / Voice CAT-5, CAT-6 | D-LINK, FINOLEX or Eqv. |
|  | Light Fixture | K-LITE / WIPRO or Eqv. |
|  | Modular Switch & Sockets | SCHNEIDER(C-Metro, C_Bass & ULTI)/ or Eqv. |
|  | MCB / MCCBs | HAVELS, LEGRAND/ HPL or Eqv. |
|  | Switch Rack for DATA | VALRACK or Eqv. |
|  | Raceways & Pop-Ups | MK, SCHNIEDER or Eqv. |
|  | Conduits | PVC/ MS Pipes (ISI Mark) or Eqv. |

Fire Detection & Alarm System:

| Sl No: | MATERIAL | APPROVED MANUFACTURER / BRAND |
| --- | --- | --- |
|  | Smoke Detector, Indicator, Panel | Honywel or Eqv. |

Audio-Visual System:

| Sl No: | MATERIAL | APPROVED MANUFACTURER / BRAND |
| --- | --- | --- |
| 1 | Sound system | BOSE SYSTEM or Eqv. |

Automatic Sliding Door:

| Sl No: | MATERIAL | APPROVED MANUFACTURER / BRAND |
| --- | --- | --- |
|  | Sliding door | GEZE or Eqv. |

TECHNICAL SPECIFICATIONS:

TECHNICAL SPECIFICATIONS FOR THE PROPOSED INTERIOR WORKS NEDFi BRANCH OFFICE AT GUWAHATI

These specifications are for work to be done, item to be supplied and materials to be used in the work as shown and defined on the drawings and described herein, to the satisfaction of the Owner.

  - General

    - The workmanship is to be the best possible and of a high standard. The Contractor shall take all steps immediately to make up deficiency if any noticed by the Employer/Architect. Use must be made of special tradesman in all aspects of the work and allowance must be made in the rates for the same.

    - The materials to be provided by the contractor shall be in accordance with the samples already got approved from the Owner and the conformity with specification and approval list of manufacturers and brand. The Contractor shall produce all invoices, vouchers or receipts for any materials if called upon to do so by the Owner.

    - Samples of all materials are to be submitted to the EIC/Owner for their approval before the contractor orders or delivers the material to the site. Samples together with their packing are to be provided free of charge by the Contractor and should any materials be rejected they will be removed from the site at the Contractors expense. All samples will be retained by the Owner for comparison with materials which will be delivered at site. Also the Contractor will be required to submit specimen finishes of colors, fabrics, etc. for the approval of the Owner before proceeding with the work.

    - The Contractor shall be responsible for providing and maintaining temporary coverage required for the protection of finished work. He is also to clean out all wood shavings, cut ends and other waste from all parts of the work before covering or in fillings are constructed.

    - Contractor shall maintain uniform quality and consistency in workmanship throughout the execution of the work.

2.0	Joinery in Woodwork

2.1	The contract surfaces between internal frame and skinning shall be glued with approved adhesive in addition to fixing with necessary screws etc.

2.2	After preparing proper surface of skinning by sand-papering etc., the laminates or veneers shall be fixed on it with the help of approved adhesive.

2.3	Framework for full height partitions shall be rigidly fixed to the floor, walls and ceilings of it.

  - Any portions that are warped or found with other defects are to be replaced. The whole of the work is to be framed and finished in a workman-like manner in accordance with the detailed drawings and the direction of the EIC and whenever required, fitted with all necessary metal ties, straps, screws, adhesive etc. Joinery work generally to be finished with fine sand/glass paper.

  - All joints shall be standard mortise and tenon, dowel or cross-halved. Screws, nails, etc. will be of standard iron or wire. Tenons should fit the mortises exactly.

  - Nailed or glued butt joints will not be permitted.

  - Wherever screw heads are on a finished surface those will be sunk and the hole plugged with a wood plug of the same wood and grain to match the colour.

- Timber

  - All the Salwood, CP Teak, etc. to be used shall be properly seasoned, of natural growth and shall be free from worm holes, loose or dead knots or other defects, sawn square and shall not suffer from warping, splitting or other devices.

  - The moisture content shall not exceed 12%.

  - All internal framework shall be treated with approved wood preservative and with fire retardant treatment / paint.

  - All wood brought to site be clean, it shall not have any preservative or other coating/covering.

  - All rejected, decayed, bad quality wood shall be immediately removed from site.

  - All the dimensions mentioned for T.W or other hardwood. members are finished sizes.

  - All exposed T.W. is to receive melamine polish and should be of 1st quality BTC.

  - All  surfaces of any kind of wood used should be properly coated with Anti-Termite treatment

- Plywood

Note : All plywood , block board, pre-laminated boards are to be(EURO-I), BIS Eco Mark certification ensuring Green concept that are Eco-Friendly  with Low Formaldehyde emission and Non-Toxic

  - Marine plywood with pure-ply technology (TOXIN CHECK TECHNOLOGY) shall generally conform to I.S. 710- 1976 and also to Defence / Navy    Specifications, bonded with phenol formaldehyde, B.W.P. grade treated with wood preservative and termite resistant.

  - BWR plywood  with pureply technology .(TOXIN CHECK TECHNOLOGY)

100% borer proof shall generally conform to IS: 303.1989 treated with wood   preservative

5.0	Hardware and Metals

  - All the screws/bolts with nuts to be used shall have oxidized finish (unless required otherwise) of approved shape, size and quality.

  - Fittings shall be of brass oxidized heavy duty unless specified otherwise.

  - Samples of all hardware are required to be approved in advance.

  - The agency should cover-up and protect the brass surface by a thick grease or other suitable material veneer as necessary and subsequently clean it away at the same time of handing over.

  - All hardware shall be fitted with good workmanship without the surrounding edges being damaged.

  - All chair stands shall be 5-prong aluminum tilting as approved by the Architects, with a diameter of 25 ½ inches, and finished with powder coating of high quality. In case M.S. stands are approved, the same shall be embossed with a seven-tank anti-rust treatment procedure before powder coating.

  - All castors shall be of approved make, quality and type. They shall be glass-reinforced nylon castors, with twin wheels having independent movement, and with a load carrying capacity of 100 kg per castors.

6. Laminate

  - All laminate shall be of   0.8mm,1mm and 1.5mm thickness as specified in Bill of Quantity.

  - The Contractor shall get the sample showing the surface texture, pattern and colour approved, by Architect.

  - All edges, beadings, etc. shall also be finished in laminate or PVC edge banding

7.0	Fabrication in Metal

7.1	All brazing and welds are to be executed in a clean and smooth manner, rubber down and finished in flat and tidiest way, particularly where exposed.

8.0	Glazier

    - All glass is to be approved manufacture , complying with I.S. 3548-1960, or as per approved quality and sample, to be of the qualities specified and free from bubbles, air holes, waviness and other defects.

    - In cutting glass, proper allowance shall be made for expansion.

    - Glass for mirror shall be silvering quality (S.Q.) conforming to I.S. 3458-1958 or as approved sample and quality.

    - On completion, all glass surfaces shall be cleaned inside and out. All cracked, scratched glass / mirror shall be replaced.

    - Sun control film shall be non-reflective type, of approved make and shade. The fixing shall be without any defects such as air bubbles / creases / adhesive marks, etc.

    - All toughening on glass to be done as per approved finish and free from waves and bends.

9.0	Paint & Polishes

  - All material required for the work shall be specified and approved manufacture, delivered to the site in the manufacturer’s containers with the seals, etc., unbroken and after use empty containers shall be stored till finally cleared by the Architect.

  - All iron or steel/metal surfaces shall be thoroughly scraped and rubbed down with wire brushes and shall be entirely free from rust, mill scale, etc., before applying the primary coat.

  - Melamine and P.U. polish finishes shall be properly finished, without any flow marks, spots, roughness etc.

  - Painting work shall be of high standard, without any brush marks on the finished surface and no spots on adjacent furniture, glass, etc.

10.0	Civil Work

  - The Contractor shall use cement of approved make only.

  - Only first quality ceramic tiles of approved make shall be used. All tile joints shall be filled up properly using cement slurry mixed with matching pigments.

  - Only best quality granite and marble of the basic rate specified and of approved shade shall be used. (Basic rates wherever mentioned are ex-godown and excluding taxes). The granite/marble shall be from the same lot and without colour / shade variations or any other defects.

  - All edge Chambers/cutting of granite/marble shall be mirror polished and no extra shall be paid for the same.

11.0	Multi Activity hall Chairs

11.1     Mini-Auditorium chair shall be Tip up type. Structure to be made out of tube 100x200mm. thk. Base plate. Under seat Horizontal and vertical tube will be 50x50x17 Gauge . Tubular structure for arm rest will be made out of 50x25x17 Gauge. Arm rest flat will be 25x3mm . Vertical pedestal with base plate shall come at alternate chair

Seat and back inner frame to be made out of 14 mm thk. Ply with round corners of back. Back frame ht. will be 425mm

Seat cushion to be U-Foam in seat

Back Cushion to be U-Foam in back.

Arm rest to be wooden polished arm common between two sides

Back side of back and under the seat will be covered with ply finished with same fabric as in seat and back and shall be covered with black casement.

Tip up mechanism and system shall be made with round bar passing through structure under the arm rest

Chair dimension: centre to centre 500mm. and will be painted with synthetic enamel paint and fitted with 2nos fastners in each padestal.

A.            MEASUREMENTS

1.	DOORS, WINDOWS AND GRILLS

Clear area over one face inclusive of frame shall be measured. Hold fasts and portions embedded in masonry or flooring shall not be measured.

2.	DECORATIVE PANNELING OVER WALL OR OVER PARTITIONS

The area of cladding shall be measured in square meter. The gross area cladded will be measured. No deductions will be made for gaps unto one centimeter between the panels.

3.	PAVING AND TILE WORK

The work mentioned in this section shall be measured in Sq.mt.. and shall be priced per unit of Sq.mt. In all paving work, the slabs shall be touching the walls and go well under the plaster, but the measurements shall be the clear measurements of the rooms or areas when finished. No allowance shall be made for portions going under the plaster.

4. 	FALSE CEILING

For false ceiling work, the measurement shall be for the actual area covered. No deductions shall be made for the cut outs, for light fittings, speakers, column etc.

5. 	WOODWORK

For conversion of millimetre to metre, the resultant figure shall be taken up to single digit after decimal point. Third digit shall not be taken into account.

ELECTRICAL SPECIFICATIONS

1. 	MV SWITCHGEAR – POWER PANELS

Scope

The scope of work shall cover the supply, installation, testing and commissioning of all power panels, incorporating circuit breakers, switch fuse units, busbars, interconnections, earthing etc., meeting the requirements shown in equipment schedule and the drawings.

###### Standards

The following standards and rules shall be applicable:-

- IS: 2516-1972       : Specification for AC circuit breakers.

- IS: 4047-1988       : Specification for heavy duty air breaker switchgear &     fuses for voltage not exceeding 1000V.

- IS: 1818-1972	: Specification for AC isolator and earthing switches.

- IS : 3072-1975       : Code of Practice for installation and maintenance of     switchgear

- IS: 3106-1966	: Code of Practice for selection, installation and maintenance of fuses (Voltage not exceeding 650 V)

- IS : 4237-1967	: General requirements for switchgear and control gear for voltage not exceeding 1000V

- IS : 2607-1976	: Air break isolators for voltage not exceeding 1000V

- IS : 8623-1977	: Specification for factory built assembles of switchgear and control gear for voltages up to and including 1000VAC and 1200V DC

- IS : 375-1963	: Marking and arrangement of switchgear busbars main connections and auxiliary wiring.

- Indian Electricity Act and Rules.

All codes and standards mean the latest wherever not specified otherwise. The installation shall generally follow the Indian Standard Codes of Practice or the relevant British Standard Codes of Practice in the absence of corresponding Indian Standard.

Circuit Breaker

Circuit breakers shall be air break horizontal draw out type fully interlocked and meeting the requirements of IS : 2516 or BS : 3659. Breakers shall be rated for a medium voltage of 600V and rated full load amperes as indicated on drawings. Breaker shall be capable of making and breaking system short circuits specified.

Breakers shall be unless specified otherwise manually operated complete with front – of the panel operating handle, isolating plug with safety shutters, mechanical ON/OFF indicator, silver plated arching and main contacts, are chutes trip – free operation. Breakers shall be capable of being racked out into testing ‘Isolated’ and ‘Maintenance’ positions are kept locked in any position. Breakers for remote operation shall be motor operated spring charged.

###### Switch fuse units & disconnects

Switch fuse units shall have quick–make, quick-breaker silver plated preferably double break contracts with operating mechanism suitable for rotary operation in the case of cubical mounting. All switches shall be rated according to the equipment schedule or drawings and shall withstand the system prospective fault current let through. Cam operated rotary switches with higher rating switch fuse units shall be heavy duty type conforming to IS” 4047.

Fuses shall be HRC cartridge type conforming to IS : 2208 with a breaking capacity corresponding to system fault level. Fuses shall be link type with visible indication screw type diazed fuses are not acceptable for any rating.

All documents shall consist of switch units quick–make, quick-break type with  silver plated contacts. The switches shall preferably have double breaks. All switches shall be mounted in steel sheet enclosure, which in turn is mounted on suitable angle from frame work. In wet locations switches shall have cast iron enclosure. Disconnects shall have minimum breaking capacity.

###### Instrument Transformers & Meter & Relays

Ammeters and Voltmeters shall have moving iron spring controlled dead-beat elements in square/bezel flush type cases and suitable for switch board mounting.

Meter shall conform to BS : 89 and have grade ‘A’ accuracy. Scale ranges shall meet with the requirements or as indicated on the drawing or in the Schedule of Quantities.

Energy meters shall be two element switch board mounting type suitable for unbalanced load. Meters should incorporate a KVA demand meter with an integration time of 30 minutes. In case of two incoming feeders, a summating C.T. shall be provided with the meter, Meters shall conform to BS : 37.

###### Earthing

All switch panels shall be provided with an earth bar as specified.

Earthing of the switch boards shall be through the equipment. Earthing system provided in the building.

All meters shall be calibrated and tested through secondary injection tests.

All field tests shall be witnessed by Consultants and recorded. Certificates shall be furnished.

2. DISTRIBUTION BOARD

###### Scope

The scope of work shall cover the supply, installation, testing and commissioning of lighting & power distribution boards. Associated minor civil work required for the erection  of the DB’s are also included in the scope of this contract.

###### Standards

The following standards and rules shall be applicable :

1)  IS :  2675-1983-         Enclosed distribution fuse boards and cutouts for

Voltages not exceeding 1000V.

2)  IS :  375-1963             Marking and arrangement of switchgear busbars main

connections and auxiliary wiring.

3)  IS :   8828- 1978          Miniature circuit breakers

4)  IS :   2607-1976-         Air break isolators for voltages not exceeding 1000V.

5)  IS :    9926-1981          Fuse wire used in Rewirable type Elec. Fuses

up to 650Volts.

6)  Indian electricity Act 1910 and rules issued there under.

All codes and standards mean the latest. Where not specified otherwise the installation shall generally follow the Indian Standard Codes of Practice or the relevant British Standard Codes of Practice in the absence of Indian Standard.

Distribution boards

Distribution board along with the controlling MCB’S, isolator as shown shall be fixed in an M.S box suitable for recessed mounting in all. Distribution boards shall be made of 16 SWG sheet steel duly rust inhibited through a process of degreasing , acid pickling , phosphating and spray painted to an approved colour over a coat of red oxide primer. Three phase boards shall have phase barriers and a wire channel on three sides generally as shown on drawings. Neutral bars shall be solid tinned copper bars and tapped holes and chase headed screws. For 3 phase DN’s, 3mm independent neutral bars shall be provided.

Conduit knockouts shall be provided as required/ Shown on drawings and the entire boards shall be rendered dust and vermin proof and shall have conduit knock out entry. MCB’s shall have quick and break non-welding self wiping silver alloy contacts both on the manual and automatic operation. Each pole of the breaker shall be provided with inverse time thermal over load and instantaneous over current tripping elements, with trip free mechanism. In case of multipole breakers, the tripping must be on all the poles and operating handle shall be common. Breakers must conform to BS 3871 with facility for locking in off position. Pressure clamp terminals for stranded /solid conductor insertion are acceptable up to 4 sq. mm. Aluminum or 2.5sq.mm.Copper and for higher ratings, the terminals shall be suitable shrouded. Wherever MCB isolators are specified they are without the tripping elements.

Fuse shall be HRC link type OR DZ type necessary fuse Carriers and with rating of not less than 25 MVA. Bottle type fuses are only acceptable. Fuse carrier terminals shall be suitable shrouded.

Distribution boards shall have HRC or DZ as shown on the schedule and drawings. Boards shall meet with the requirements of IS 2675 and marking arrangement of busbar shall be in accordance with IS 375. Bus bars shall be suitable for the incomer switch rating and sized for a temperature rise of 35 degree C over the ambient. Each board shall have two separate earthing terminals. Circuit diagram indicating the load distribution shall be pasted on the inside of the DB as instructed. One earthing terminal for single phase and two terminals for 3 phase DBs shall be provided with an earth strip connecting the studs and the outgoing ECC earth bar.

In the case of MCB distribution boards, the back up fuses wherever shown shall be not less than 63A with a delayed Characteristic and a minimum preparing time of 0.5 sec. At 5 KVA fault current.

All outgoing feeders shall terminate on a terminal strip which in turn is interconnected to the MCB. Base by means of insulated single conductor copper wires as follows.

Up to 15A.  2.5  sq.mm.

25A.  4.0  sq.mm

63A.  6.00 sq.mm

###### Installation & Testing

All distribution boards shall be mounted on necessary angle iron frame work. All mounting frames shall be prim coated with two finish coats after the completion of the work. All distribution boards shall be touched up for damaged painting.

All boards shall be meggered phase and to neutral using a 1000V megger with all switchgear in closed position. The megger value should not be less than 2.5 megohms between phase and 1.5 megohms between phase and neutral.

3. MEDIUM VOLTAGE CABLING

Scope

The scope of work shall cover supply, laying, connecting testing and commissioning of medium voltage power cabling.

###### Standards

The following standards and rules shall be applicable:

1)  IS : 1554      PVC insulated electric cable (heavy.duty)

2)  IS : 1753     Aluminum conductors for insulated cables

3)  IS : 3961      Recommended current ratings for cables

4)  Indian Electricity act and rules.

All codes and standards mean the latest. Where not specified otherwise the installation shall generally follow the Indian Standard Codes of practice or the British Standard Codes of practice where Indian Standards are not available.

###### Cable

All cable shall be 1100 Volts grade PVC insulated, sheathed with or without steel armouring as specified and with an outer PVC protective sheath. Cables shall have high conductivity stranded aluminum or copper conductors and cores shall be colour coded to the Indian Standards.

All cables shall be new without any kinds or visible damage. The manufacturers name, insulating material, conductor size and voltage class shall be marked on the surface of the cable at every 600mm centers.

###### Installation

Cables shall be laid in the routes marked in the drawings. Where the route is not marked the Contractor shall mark it out on the drawings and also on the site and obtain the approval of the EIC before laying the cable. Procurement of cables shall be on the basis of actual site measurements and the quantities shown on the schedule of work be regarded as a guide.

Cables, rising indoors shall be laid on wall, ceiling inside shafts, or trenches. Single cable laid shall be fixed directly to wall or ceiling. All supports shall be at not more than 500 mm. Where number of cables are run, necessary perforated cable trays shall be provided wherever shown. Cables laid in built-up trenches shall be on steel supports. Plastic identification tags shall be provided at every 20m.

Cable shall be bent to a radius not less than 12 times the overall diameter of the cable, or in accordance with the manufacturer’s recommendations whichever is higher.

In case of direct buried cables, the cables, the cable route shall be parallel or perpendicular to roadways, walls, etc., cable shall be laid in an excavated, graded trench, over a sand cushion to provide protection against abrasion. Width of excavated trenches shall be as per drawings. Backfill over buried with a minimum earth cover of 600 mm the cables shall be provided with cable markers at every 20 meters.

All cables shall run from panel to panel without any joints or splices. Cable shall be identified at end terminations indicating the feeder number and the Panel/Distribution Boards from where it is being laid. All cable terminations for conductors up to 4 sq.mm. may be insertion type and all higher sizes shall have tinned copper compression lugs. Cable terminations shall have necessary brass cable gland. The end armouring shall be earthed at both ends.

###### Testing

MV cables shall be tested upon installation with a 500V. Megger and the following reading established.

- Continuity on all phases

- Insulation Resistance (a) between conductors

(b) all conductors and ground

All test readings shall be recorded.

###### Mode of Measurement

Cable will measured on the basis of unit length and shall include the following :

I)     Cable and clamps

II)    Installation , commissioning and testing

III)   Cable marking

Each cable termination will be measured as one unit for payment. Certain cable sizes are grouped together and rates shall be furnished against each group. The item shall include the following.

i)    Cable glands, lugs , bolts, nuts,

ii)   All jointing materials

iii)  Installation, testing  and commissioning.

iv)  Earthing the glands.

Cables buried under ground will be measured on the basis of unit length and paid for at unit rates and shall include:

i)    Excavation and back filling

ii)   6” Sand cushioning below and above cable

iii)  Protective bricks / tiles

iv)  Cable markers.

4. CONDUIT WIRING

###### Scope

The scope of work shall cover supply, installation testing and commissioning of all conduit wiring

The conduit shall be rigid PVC, Black coloured for lighting and sockets and Grey coloured for sockets for computers, manufactured to IS :9537 (Part III) including latest amendments, if any and in accordance with the requirement set out in the schedule. The conduit wall thickness shall be “heavy”. The conduit accessories shall be manufactured to IS : 3419 and should be compatible to the conduit installed.

The conduit shall be provided with couplers for straight joints. All joint between conduits/ conduit accessories should be properly sealed.

###### Wires

All wires shall be single core copper PVC insulated to !S: 694 and shall be 660V Grade.

All wires shall be colour coded as follows.

Phase                                                    Colour of wire

R                                                              Red

Y                                                              Yellow

B                                                              Blue

N                                                              Black

Earth                                                         Green (insulated)

Control (if any)                                        Grey.

###### Installation

The size of conduits shall be selected in accordance with the number of wires permitted under table given below. The minimum size of the conduit shall be 20 mm dia unless otherwise indicated or approved. Size of wires shall be not less than 1.5 sq.mm. Copper or 2.5sq.mm.copper

Nominal              Nominal             20mm         25mm          32mm              38mm

Dia of                 Cross sec.

Wires (mm)         area s.(mm)       S     B         S    B           S      B               S    B

1/ 2.40                   1.50                 4      3         8     6           15     9               -      -

1 / 1.80                  2.50                 4      2         6     4           10     8               -       -

1 / 2.24                  4.00                 2      2         4      3           8      6               -      -

1 / 2.80                  6.00                 1      -          4      3           6      6               -      -

1 / 3.55                  10.00               1      -          3      2          5       4              6      5

S- runs of conduits which have distance not exceeding 4.25 m between draw of boxes & which do not deflect from the straight by an angle of more than 15 degree.

B- runs of conduit which deflect from the straight by more than 15 degree.

Conduits shall be kept at a minimum of 100 mm from the pipes of other non – electrical services.

Separate conduits / raceways shall be used for:

- Normal lights and 5A.3 pin sockets on lighting circuits,

- Power outlets –15A 3 pin 20A /30A. 2 pin + scraping earth metal clad sockets.

- Emergency lighting.

Wiring for short extensions to outlets in hung ceiling or to vibrating equipments, motors etc. shall be installed in flexible conduits, Otherwise rigid conduits shall be used.

Conduits run on surfaces shall be supported on saddles which in turn are properly screwed to the wall or ceiling. Saddles shall be at intervals of not more than 500mm Fixing screws shall be with round or cheese head and of rust proof materials. Exposed conduits shall be neatly run parallel or at right angle to the walls of the building. Unseemly conduit bends and offsets shall be avoided. No cross- over of conduits installation shall be clean and neat in appearance.

Conduits embedded into the walls shall be fixed by means of staples at not more than 500mm intervals. Chases in the walls shall be neatly made and refilled after laying the conduit and brought to the finish of the wall but final finish will be done by the building contractor.

Inspection boxes shall be provided for periodical inspection to facilitate drawal and removal of wires. Such inspection boxes shall be flush with the wall or ceiling in the case of concealed conduits Inspection boxes shall be spaced at not more than 12 meters apart or two 90 degree solid bends or equal. All junction and switch boxes shall be covered by 6mm clear Perspex plates truly cuts and fixed with cadmium plated brass screws. These junction boxes shall form part of point wiring or conduit wiring as the case may be including the cost of removing the Perspex cover for painting and refixing. No separate charges shall be allowed except where specially mentioned.

###### Lighting & Power wiring

All final branch circuits for lighting and appliances shall be single conductor cables run inside conduits. The conduit shall be properly fixed into sockets, junction boxes.

Final branch circuits shall preferably be kept in a separate conduit up to the distribution Board. No other wiring shall be bunched in the same conduit except those belonging to the same phase. Each, lighting branch circuit shall not have more than ten outlets or 800 watts whichever is lower.

Flexible cords for connection to appliances shall be 650/1100 V grade (three or four cores i.e. with insulated neutral wire of same size) with tinned standard Aluminum / Copper wires, insulated twisted and sheathed with strengthening cord.

Looping system of wiring shall be used. Wires shall not be jointed. Where joints are unavoidable, they shall be made through approved mechanical connectors, No such joints shall be made unless the length of the sub circuit, sub main or main is more than the length of the standard coil.

Power wiring shall be distinctly separate from lighting wiring. Call Bell / Buzzer wiring shall be in separate conduits.

###### Testing

The entire installation shall be tested for

- Insulation resistance

- Earth continuity.

- Polarity of single pole switches.

The final sub circuit conduit wiring commencing from the distribution board till the first switch box or light fighting shall be measured on the basis of unit length. In the case of buried conduits, the wiring shall be measured before the concealing.

The definition of point wiring shall be in accordance with section 1 of the CPWD general specification for Electrical Works Part – I Internal, 1972 and should include all junction boxes, switch boxes with 5mm thick transparent Perspex cover plate of approved colour with square out corners & champhered edges screwed to the box using cadmium plated brass counter sunk or round headed screws connectors, earth wire, fixing accessories, junction boxes, connection to all light fittings etc. as specified and shown on drawings. The length and nomenclature of the points shall be as follows.

1) Extra short point                         :  Up to 1 meter in length

2) Short point                                  :  Above 1 M. but not exceeding 3.0m.

3) Medium point                             :  Over 3.0 M but not exceeding 8.0m

4) Long point                                  :  Over 8.0 M but not exceeding 12.0m.

5) Very long point                           : Over 12.0M.but not exceeding 18.0M.

6) Extra long point                          : Over 18.0M but not exceeding 24M

7) Special point                               : Exceeding 24M.

5. EARTHING

Scope

The scope of work shall cover earthing station, laying aluminum / copper earth strips and connecting the power panels, DBs and switch boards. All minor civil work involved shall be covered in the scope of their contract.

###### Standards

The following standards and shall rules shall be applicable:

- IS : 3043 – 1966 Code of Practice for earthing.

- Indian Electricity Act and rules

All codes and standards mean the latest. Where not specified otherwise the installation shall generally follow the Indian Standard code of Practice or the British Standard Codes of Practice in the absence of Indian standards.

Pipe Earthing station

The earth electrode shall be 2.5M long 50mm dia galvanized steel pipe. The earth resistance shall be maintained and should not exceed 5 ohms with a suitable soil treatment.

###### Earth leads and connections

Earth lead shall be bare copper or aluminum or galvanized steel as specified. Copper lead shall have a phosphor contact of not over 0. 15 per cent. Aluminum and galvanized steel buried in ground shall be protected with bitumen and hessian wrap or polythene faced hessian and bitumen coating . At road crossing necessary Hume pipes shall be laid. Earth lead run on surface of wall or ceilings shall be fixed on saddles or wall so that the strip is at least 8mm away from the wall surface.

The complete earthing system shall be mechanically and electrically connected to provide an independent return path to the earthing source.

###### Equipment earthing

All Apparatus and equipment transmitting or utilizing power shall be earthed in the following manner. Copper earth wires shall be used where copper wires are specified. Aluminum wires may be used where aluminum phase wires are specified unless otherwise indicated in the schedule of work.

1) Power transmission apparatus

a) A separate insulated bare earth continuity conductor of size 50% of the phase conductor subject to the minimum and maximum shall be provided.

Copper 	Aluminum	   Galvanized Steel

Minimum	2.5 sq.mm.	1.5 sq.mm.	        6 sq.mm.

Maximum	65 sq.mm	100 sq.mm.	     200 sq.mm

The earth continuity conductor may be drawn inside the conduit in which case, it should be insulated.

b) Non-metallic conduit shall have an insulated earth continuity conductor of the same size as for metallic conduit. The earth conductor shall be distinctly coloured (Green) for easy identification.

c) Armoured cables shall be earthed by 2 distinct earth connections to the armouring at both the ends and the size of connection being as for the metallic conduit.

d) In the case of unarmoured cable, an earth continuity conductor shall either be run outside along the cable or should form a separate insulated core of the cable.

e) 3 Ph. Power panels and distribution boards shall have 2 distinct earth connections of the correlated to the incoming cable size. In case of 1 ph. DB’s a single earth connection is adequate. Similarly for 3 Ph and 1Ph. Isolating switches there shall be 2 and 1 earth connections respectively sizes being correlated to the incoming cable.

2. Utilities equipments

a) 3 Ph. Motors and other 3 Ph. Apparatus shall have 2 distinct earth connections of size equal to 50% of the connecting cable subject to the following.

Copper 	Aluminum	   Galvanized Steel

Minimum	6.5 sq.mm	10 sq.mm	       20 sq.mm

Maximum	65 sq.mm	100 sq.mm.	     200 sq.mm

b) For 1 Ph. Motors and 1 Ph. Apparatus, the single earth connections shall be provided of the above size. For all light fittings and fans a single earth connection with 2.5 sq.mm. Copper or equivalent size shall be provided.

c) All street light poles have an earth stud and shall be connected to the cable armouring using 6.5 sq.mm. Copper or equivalent unless shown otherwise.

d) For street lighting poles in ground, 2.5m long 10 SWG bare copper wire shall be coiled and buried with every fourth pole in addition to connection to cable armouring.

###### Testing

The following earth resistance values shall be measured with an approved earth meggar and recorded.

1) Each earthing station

2) Earthing system as a whole

3) Earth continuity conductors

###### Mode of Measurement

Providing, earthing station complete with excavation, electrode, watering pipe, soil treatment, Masonry chamber etc. shall be treated as one unit of measurement.

The cost of earthing the following items shall become part of the cost of the items itself and no separate payment for earthing shall be made.

a) Motors-earthing forming part of the cabling / wiring for the motors.

b) Isolation switches and starters should form part of mounting frame, switch

starter etc.

c) Light fittings – form part of installation of the light fittings.

d) Conduit wiring cabling – should form part of the wiring or cabling.

6.          LIGHT FIXTURES

The scope of work shall cover the supply, installation & testing of fluorescent and incandescent light fixtures as specified in Schedule of Quantities.

All fixtures shall be complete with accessories and fixings necessary for installation whether so detailed under fixture description or not.

Fixtures housing, frame or canopy shall provide a suitable cover for the fixture outlet box or fixture opening.

Fixtures and/or fixture outlet boxes shall be provided with hangers to adequate support the complete weight of the fixtures. Design of hangers and method of fastening other than specified shall be submitted to the Owner for approval.

Flush mounted and recessed fixtures shall be installed so as to completely eliminate light leakage withing the fixture and between the fixture and adjacent finish surface.

Fixture mounted on outlet boxes shall be tightly secured to a fixture stud in the outlet box extension pieces shall be installed where required to facilitate proper installation.

Wiring withing the fixtures and for connection to the branch circuit wiring shall be not less than 1.5. sq.mm. Copper for 250 volt application. Wire insulation shall suit the temperature conditions inside the fixture and wires by passing the choke shall be heat protected with a heat resistant sleeve.

1)  Lamps shall be supplied and installed in all lighting fixtures furnished under

this contract.

2)  Lamps used for temporary lighting service shall not be used in the final

lamping of fixture units.

3)  Lamps shall be of wattage and as shown in schedule.

4)  L amps for permanent installation shall not be placed in the fixtures until so directed by   the Architect/ Consultant and this shall be accomplished directly before the building is ready for occupation.

Fluorescent fittings.

Only single and /or two lamps ballast shall be used in any one fixture. Ballasts shall be completely enclosed inside sheet steel casing and shall a corrosion – resistant finish.

All ballasts shall be of high power factor compensated to above 0.9 PF.

Surface mounted fixtures longer than two feet shall have one additional point of support besides the outlet box fixture and when installed individually. Pendant individually mounted fixtures four feet long and smaller shall be provided with twin steam / conduit hangers. Stems shall have ball aligners or similar devices and provided for a minimum of 25mm vertical adjustment. Stems shall be of appropriate length to suspend fixtures at required mounting height.

Lamps shall have bi-pin bases and minimum approximate rated and guaranteed  life of 6000 hrs. Colour spectrum of light shall be equivalent to ‘Philips White’. Lamp starter and ballast shall match the lamp.

###### Incandescent fittings

Incandescent fittings shall be of the type generally specified on the drawings. Contractors should have sample approved by Architect / Consultant before procurement.

Incandescent fixtures shall be equipped with porcelain, medium base, screw/ pin type sockets for lamps up to and including 200 watts and mogul screw type base for lamps 300 watts and over.

###### Mode of Measurement

Each fixture shall be measured as a unit complete with accessories lamp, connectors, earthing etc.

Suspension stems for light fittings shall be measured as bare conduits and paid at the rate per unit length.

List of Tender Drawings:

| Sl no: | Drawing no | Details | Drawing Title |
| --- | --- | --- | --- |
| 1 | NEDFIGUWAHATI/Drg/01 Sheet no:1 | Furniture Layout -01 | Furniture Layout |

# PROFORMA-I

FORM OF BANK GUARANTEE IN LIEU OF INITIAL SECURITY DEPOSIT (Clause 4.3 of ‘Instructions to Bidders’)

----------------------------------------------------------------------------------------------

To

North East Development Finance Corporation Ltd.,

NEDFi House, Dispur, Guwahati-781 006

Dear Sirs,

In consideration of the North East Development Finance Corporation Ltd. (hereinafter called the owner) having invited tenders in respect of proposed Interior office work at NEDFi branch at Guwahati (hereinafter called “the said work”) upon certain conditions that the owner may accept a Bank Guarantee of a schedule / Nationalize/ Commercial Bank in lieu of Initial Security Deposit / Final Security Deposit, We _______________________________________(Name  of the Bank) do hereby undertake to pay to the Owner an amount not exceeding Rs. __________________ (Rupees ______________________________ Only) against any loss or damage caused to or suffered by the owner by reasons of any branch of any of the terms and conditions of the said Tender Documents by ____________________________ (Name & address of Bidder):

We, _____________________ (name of the Bank), a body registered / constituted under the __________________ and having our registered office at ___________(herein after  “the Bank”) at the request of the said Bidder and with the intent to bind the Bank and its successors and permitted assigns, do hereby unconditionally and irrevocably guarantee payment to the Owner a sum of Rs.___________________ (Rupees ____________________________only) due and payable under this Guarantee / Undertaking without any demur. Any such demand made on the Bank by the said Owner shall be conclusive as regards the amount due payable by the Bank under this Guarantee / Undertaking, However, our liability under this Guarantee / Undertaken shall be restricted to an amount not exceeding Rs. ______________________(Rupees ____________________only)

And the Bank doth hereby further agrees as follows:

- The Guarantee / Undertaking herein contained shall remain in full force and effect during the period that would be taken for the performance of the said contract and the claims of the owner relative thereto are satisfied and / or discharged and until the owner shall have no claims under this Guarantee / Undertaking has been served on the Bank before the expiry of the said date, in which event the same shall be enforceable against the Bank notwithstanding that the same in enforced after the expiry of the said date, namely __________________________________ 2018.

- The owner shall have the fullest liability without reference to the Bank and without affecting in any way the liability of the bank under this Guarantee / Undertaking, at any time and / or from time to time to anywise vary the said contract and / or any of the terms and conditions thereof or of or relative to the said earnest money / initial security / final security deposit or to extend time of performance of the said contract in whole or part or to postpone for any time and / or the power exercisable by the owner against the contractor and either to enforce or forbear for enforcing any of terms & conditions of or governing the said contract or the said earnest money / / initial security / final security deposit or the securities available to the owner or any of them and the bank shall not be released from its liability under these presents and the liability of the bank shall remain in full force and effect notwithstanding any exercise by the owner of the liberty with reference to any or all the matters aforesaid or by reason of time being to the contractor or any other forbearance , act or omission of the part of the owner or any indulgence by the owner to the contractor or of any other act, matter or things whatever which under the law relating to sureties would, but for this provisions, have the effect of releasing the Bank from its liability hereunder  or any part thereof.

- If shall not be necessary for the owner to proceed against the contractor before proceeding against the Bank and the guarantee / undertaking herein contained shall be enforceable against the Bank notwithstanding the existence of any other security for any indebtedness of the contractor to the owner.

- The amount stated by the owner in any demand, claim or notice as the unpaid being shall as between the bank and the owner for the purposes of these presents be conclusive of the said balance.

- The liability of the bank to the owner under the Guarantee / undertaking shall remain in full force and effort notwithstanding the existence of the difference of dispute between the contractor and the owner and / or the existence of any difference of the dispute between the contractor and the Bank and / or the existence of the difference of the dispute between Bank and the owner, or otherwise whosever touching or effecting these presence or the liability of the contractor to the owner, and notwithstanding the existence of any instruction or purported instructions  by the contractor or any other person to the bank not to pat or for any causes or to the with hold or defer payments to the owner under these presents, with the intent that notwithstanding the existence of such difference.

- The bank shall not revoke this Guarantee / undertaking during its currency except with the previous consent of the owner in writing and also agree that any changes in the constitution of the contractor or the bank or the shall not discharge the Bank’s liability hereunder.

- The Bank doth hereby declare that Shri:                                  (name of the person signing on behalf of the bank) who is ,                              (his designation is authorized to sign this Guarantee / Undertaking on behalf of the Bank and to bind the bank thereby.

Dated this           Day of                       2022

Yours truly,

Signature:

Name;

Name of the Bank:

Name of the Branch:

TENDER DOCUMENTS

NORTH EASTERN DEVELOPMENT FINANCE EMPLOYER LTD. (NEDFi)

INTERIOR FURNISHING WORKS

At

NEDFi BRANCH OFFICE AT GUWAHATI

VOLUME-2

FORM OF TENDER AND BILL OF QUANTITIES

NEDFi,

NEDFi House, G.S. Road,

Dispur, Guwahati-781006

Issued to:

Date:

NEDFi-Interior works- Volume-2

FORM OF TENDER

From:

To,

M/s North Eastern Development Finance Corporation Ltd. (NEDFi)

NEDFi House, Dispur,

G.S. Road, Guwahati-781 006

Dear Sirs,

- Having examined the plans, specifications and schedule of quantities prepared by NEDFi and as we have satisfied ourselves as to the location of the site and working conditions. I/We hereby offer to execute the above works at the respective rates which I/We have quoted, for the item of schedule of quantities.

- I/We herewith deposit Rs.25,000/- (Rupees Twenty five thousand only) by ;

Demand draft drawn on 						Bank in favour of M/s NEDFi, Guwahati.

/Guarantee no.			issued by 			Bank as EMD amount for the due execution of the works at my/our tendered rates together with any variations in prices approved by the Corporation.

- In the event of this tender being accepted, I/We agree to enter in to and execute the necessary contract required by you. I/We do hereby bind myself/ourselves in the aforesaid deposit of Rs.25,000/- only in the event of our refusal or delay in signing of the contract document. I/We further agree to complete the work within 45  (forty five) days from the date of issue of the Work order. I/We agree not to employ sub-contractor other than those that may be approved by you.

- I/We agree to pay income tax, sales tax, work contract tax, labour welfare fund charges, octroi duties and taxes etc. as prevailing from time to time on such items for which such taxes and charges are levied by the appropriate authorities. The rate quoted by me/us are inclusive of all such taxes and charges, but exclusive of Goods & Service Tax (GST). We understand that NEDFi shall pay such GST on our furnishing details of registration with the service tax  Cell/ Central Excise department, Govt. of India.

- I/We understand that you are not bound to accept the lowest offer or bound to assign any reason for rejection of our tender.

- I/We agree to keep our offer open for 30 days from the date of opening of Envelop-2, namely our Price Bid.

- I/We enclose herewith the completed Tender documents under two separate sealed envelops and the Bank draft/Bank guarantee for Rs.25,000/- (Rupees twenty five thousand only) as EMD.

Thanking you,

Yours faithfully,

Signature of the Bidder

Name:

Address:

Date:

NORTH EASTERN DEVELOPMENT FINANCE CORPORATION LTD.

NEDFi HOUSE, G.S. ROAD, DISPUR, GUWAHATI-6

INTERIOR FURNISHING WORKS AT NEDFi BRACH OFFICE, GUWAHATI

SUMMARY OF QUOTED PRICES

| Sl. no. | Description | Amount (in Rs.) |
| --- | --- | --- |
| 1 | CIVIL-SANITARY & INTERIOR WORKS |  |
| 2. | ELECTRICAL,DATA VOICE, FIRE SUPRESSION & CCTV WORKS |  |
| TOTAL QUOTED PRICE |  |  |

(Rupees 							               	)

Basis of quoted price:

The quoted price is inclusive of supply, installation, testing and commissioning, all Government excise and Custom duties, VAT/Sales tax, Work contract tax, packing, forwarding, freight, hoisting and erection, tools and tackles, complete, but excluding Goods and Service tax (GST), all as more fully described in the Contract Document.

Signature of the Bidder/Contractor

Name of the Bidder/Contractor:

Date: